## Screw Presses
Item Name (MD 300 Series) | Manufacturer | Mivalt Part Number | GDS Part No | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 100% | Customer 100%
MP-DW-131 Screw Press | Mivalt |  | MP-DW-131 | 210-220V or 460-480V | Stainless-Steel | 6-8 weeks |  | 0 | 0 | 0
MP-DW-201 Screw Press | Mivalt |  | MP-DW-201 | 210-220V or 460-480V | Stainless-Steel | 6-8 weeks |  | 0 | 0 | 0
MP-DW-301 Screw Press | Mivalt | VOD/18828 | MP-DW-301 | 210-220V or 460-480V | Stainless-Steel | 6-8 weeks |  | 0 | 0 | 0
MP-DW-302 Screw Press | Mivalt |  | MP-DW-302 | 210-220V or 460-480V | Stainless-Steel | 8-10 weeks |  | 0 | 0 | 0
MP-DW-303 Screw Press | Mivalt |  | MP-DW-303 | 210-220V or 460-480V | Stainless-Steel | 12-14 weeks | 78500 | 94200 | 188400 | 207240
MP-DW-401 Screw Press | Mivalt |  | MP-DW-401 | 210-220V or 460-480V | Stainless-Steel | 10-12 weeks |  | 0 | 0 | 0
MP-DW-402 Screw Press | Mivalt | VOD/18831 | MP-DW-402 | 210-220V or 460-480V | Stainless-Steel | 12-14 weeks |  | 0 | 0 | 0
MP-DW-403 Screw Press | Mivalt |  | MP-DW-403 | 210-220V or 460-480V | Stainless-Steel | 12-14 weeks |  | 0 | 0 | 0
Standard Control Boxes | Mivalt |  | (all presses) | [5 empty] | 15000

## Controls & Conveyors
Item/Part Name | Manufacturer | Mivalt Part Number | GDS Part # | Power | Material | Lead Time | Cost (Euros) | Cost USD | Customer (35%) | Customer 50% | Customer 80% | Customer 100%
Control Panel Electrical Componants
Alarm | Mivalt |  | AUD-ALA-CB | N/A
Carbon H2S Filter 130 170 m3/h air | PRO-ECO VF | PRO-ECO VF Filter 130 | CARB-FIL-130 | N/A | N/A | in-stock | 55 | 66 |  |  |  | 132
Cat 5 DIN Rail Mount | Solarix |  | CAT-5-SOL | N/A |  | 2-3 weeks | 28 | 33.6 |  |  |  | 67.2
Circuit Breaker 2/C/3 | OEZ | LTN-2C-3 | CIR-2A/C/3 | N/A | composite resin | 2-3 Weeks | 25 | 30 |  |  |  | 60
Circuit Breaker 10A/B/3 | OEZ | LTN-10B-3 | CIR-10A/B/3 | N/A | composite resin | In-stock | 25 | 30 |  |  |  | 60
Circuit Breaker 6A/B/3 | OEZ | LTN-6B-3 | CIR-6A/B/3 | N/A | composite resin | In-stock | 28 | 33.6 |  |  |  | 67.2
Circuit Breaker 16A/B/3 | OEZ | LTN-16B-3 | CIR-16A/B/3 | N/A | composite resin | In-stock | 28 | 33.6 |  |  |  | 67.2
Circuit Breaker 20A/B/3 | OEZ | LTN-20B-3 | CIR-20A/B/3 | N/A |  | In-stock | 32 | 38.4 |  |  |  | 76.8
Contactor 3PH | OEZ | RSI-25-40-X024 | CON-3PH-024 | 3 phase | composite resin | In-stock | 70 | 84 |  |  |  | 168
Contactor Accessory (Merz PS11) | OEZ
Cooling Fan & Filter | Mivalt | ROZV_VETRAK_DC24V_500m3h | FAN-DC-24V | N/A |  | 2-3 weeks | 120 | 144 |  |  |  | 288
Communication Port (for turbidity/TSS meters) | Rievtech | PR-RS485 | COM-RS485 | N/A |  | 2-3 weeks | 48 | 57.6 |  |  |  | 115.2
Data Cable (between PLC & HMI) | Rievtech | PR-RS232 | DATA-RS232 | N/A | plastic | In-stock | 39 | 46.8 |  |  |  | 93.6
Emergency Start/Stop Button (Mushroom Head) | Eaton Industries |  | STOP-M22-PVT | 24V |  | 2-3 Weeks | 52 | 62.4 |  |  |  | 124.8
Extension Module - 4x analog/digital input, 4x relay output | Rievtech | PR-E-16DC-DA-R | EXT-MOD-16DC | N/A |  | 2-3 weeks | 112 | 134.4 |  |  |  | 268.8
Extension Module -temp sensor input module 3x input | Rievtech | PR-E-PT100 | EXT-MOD-PT100 | N/A |  | 2-3 weeks | 105 | 126 |  |  |  | 252
Frequency Converter .37(kW) 3x400V | Invertek | ODE-3-120023-1F12 | FCON-1F12 | .5 HP | composite resin | In-stock | 135 | 162 |  |  |  | 324
Frequency Converter 4(kW) 3x400V | Invertek | ODE-3-240095-3F42 | FCON-3F42 | 5 HP | composite resin | In-stock | 405 | 486 |  |  |  | 972
HMI Display 7" | Wecon | PI3070iN | HMI-07-DIS | .5 HP/15W |  | In-stock | 287 | 344.4 |  |  |  | 688.8
HMI Display 15" (w/remote access) - DISC | Wecon | P19150 | HMI-15-DIS | 40W |  | 2-3 weeks | 1156 | 1387.2 |  | 2080.8 |  | 2774.4
HMI Display 15" (w/remote access) | Wecon | PI8150ig | HMI-15IG-DIS | 40W |  | 2-3 weeks | 1156 | 1387.2 |  |  |  | 2774.4
HMI Display 12" - DISC | Wecon | PI9120 | HMI-12-DIS | 40W |  | Disc. | 850 | 1020 |  | 1530 |  | 2040
Level Relay (for SHR2 Sensors in control box) AC/DC | Elko | HRH5 AC/DC 25-240V | LR-HRH5-DC24 | DC 24V |  | In-stock | 70 | 84 |  |  |  | 168
Main Breaker 4A/C/3 | OEZ | LTN-4C-3N | BKR-4A/C/4 | N/A |  | 2-3 weeks | 43 | 51.6 |  |  |  | 103.2
Main Breaker 10A/C/3 | OEZ | LTN-10C-3N | BKR-10A/C/3 | N/A |  | 2-3 weeks | 46.5 | 55.8 |  |  |  | 111.6
Main Breaker 16A/C/4 | OEZ | LTN-16C-3N | BKR-16A/C/4 | N/A |  | In-stock | 50 | 60 |  |  |  | 120
Main Breaker 25A/C/4 | OEZ | LTN-25C-3N | BKR-25A/C/4 | N/A |  | In-stock | 55 | 66 |  |  |  | 132
Main Breaker 32A/C/3 | OEZ | LTN-32C-3N | BKR-32A/C/3 | N/A |  | In-stock | 55 | 66 |  |  |  | 132
Main Breaker 40A/C/4 | OEZ | LTN-40C-3N | BKR-40A/C/4 | N/A |  | 2-3 weeks | 80 | 96 |  |  |  | 192
Main Switch (Start/Stop) | [5 empty] | In-stock | 180 | 216 |  |  |  | 432
Motor Protection Switch ON/OFF (MS25 1-1.6A) | Merz | MEL/19062 | SWIT-CO-MS25 | 2.5 A |  | in-stock | 12 | 14.4 |  |  |  | 28.8
Motor Protection Switch (Auxiliary Contact for MS25) PS11 | Merz | MEL/19407 | CON-MPS-PS11 |  |  | in-stock | 35 | 42 |  |  |  | 84
Nitrogen Purge Control Box | Mivalt |  | NITRO-PUR-CB | N/A | Stainless-Steel | 4-6 Weeks
PLC 1 (PR-24DC-DA-R) | Rievtech | PR-24DC-DA-R | PLC-PRDA-24DC | 4.5 HP | N/A | In-stock | 220 | 264 |  |  |  | 528
PLC 2 (PR-E-AI-I ) (4x analog input 4-20mA) | Rievtech | PR-E-AI-I | PLC2-PRE-24V | 12-24v DC | N/A | 2-3 weeks | 129 | 154.8 |  |  |  | 309.6 | 371.52
PLC 3 (PR-E-AQ-VI) 2x analog output channel 0-20ma | Rievtech | PR-E-AQ-VI | EXT-MOD-AQVI | 0-10V |  | 2-3 weeks | 126 | 151.2 |  |  |  | 302.4
PLC Programming Unit (xLogic CPU's) | Rievtech | ELC-Copier | PLC-PRO-ELC | N/A | N/A | in-stock | 49 | 58.8 |  |  |  | 117.6
Thermastat for fan control | Schneider Electric | Temperature Switch | THER-FAN-250 | 250V | N/A | 2-3 weeks | 45 | 54 |  |  |  | 108
Thermal/Motor Protection Switch (QM1) | Merz | MBS-1-1.6A | TPRO-3PH-.63A | .4-.63 A | N/A | In-stock | 27 | 32.4 |  |  |  | 64.8
Thermal/Motor Protection Switch (QM1) - dosing pumps | Merz | MBS-0.63-1A | TPRO-3PH-1A | .63-1 A | N/A | In-stock | 27 | 32.4 |  |  |  | 64.8
Thermal/Motor Protection Switch (QM1) | Merz | MBS-1-1.6A | TPRO-3PH-1.6A | 1-1.6A | N/A | In-stock | 28 | 33.6 |  |  |  | 67.2
Thermal Protection (QM1) - conveyors | Merz | MBS-1.6-2.5A | TPRO-3PH-2.5A | 1.6-2.5 A, 2HP | N/A | In-stock | 28 | 33.6 |  |  |  | 67.2
Thermal Protection (QM1) - dosing pumps | Merz | MBS-2.5-4A | TPRO-3PH-4A | 2.5-4 A | N/A | In-stock | 36 | 43.2 |  |  |  | 86.4
Transformer (low voltage) 1-phase, 230V, 120 W | Weidmuller | Weidmuller Pro-ECO3 24V DC, 120W, 1+N+PE | TRAN-1P-230-5A | .5 HP | composite resin | In-stock | 126 | 151.2 |  |  |  | 302.4
Transformer (low voltage) 3-phase, 400V, 120 W | Weidmuller | Weidmuller Pro-ECO3 24V DC, 120W, 3+PE | TRAN-3P-400-5A | 23 DC, 5A | composite resin | In-stock | 225 | 270 |  |  |  | 540
Transformer (low voltage) 3-phase, 400V, 240W | Weidmuller | Weidmuller Pro ECO3 24V DC, 240W, 3+PE | TRAN-3P-400-10A | 24 DC, 10A | composite resin | 2-3 weeks | 332 | 398.4 |  |  |  | 796.8
Transformer (low voltage) 1-phase, 230V, 72W | Weidmuller | Weidmuller Pro ECO3 24V DC, 72W, 1+N+PE | TRAN-1P-230-3A | .5 HP, 3A | composite resin | In-stock | 85 | 102 |  |  |  | 204
Undervoltage Module | OEZ | SP-LT-D024 | UND-MOD-024 | N/A | composite resin | In-stock | 52 | 62.4 |  |  |  | 124.8
USB Communication Cable (between PC & CPU) | Rievtech | PR-USB | USB-COMM | N/A |  | In-stock | 48 | 57.6 |  |  |  | 115.2
VPN Router 4G | ASUS | 4G-AC53U | VPN-ROU-AC5 | N/A |  | 4-6 weeks | 237 | 284.4 |  |  |  | 568.8
VFD CABLE - RS485/RJ45 - 3 PORT (MD 201/301/401) | Mivalt | MEL/18412 | CAB-RS485-3PO | N/A | N/A | 2-3 weeks | 62 | 74.4 |  |  |  | 148.8
VFD CABLE - RS485/RJ45 - 4 PORT (MD 302/402) | Mivalt | MEL/18413 | CAB-RS485-4PO | N/A | N/A | 2-3 weeks | 68 | 81.6 |  |  |  | 163.2
VFD CABLE - RS485/RJ45 - 5 PORT (MD 403) | Mivalt | MEL/18414 | CAB-RS485-5PO | N/A | N/A | 2-3 weeks | 81 | 97.2 |  |  |  | 194.4
VFD 1x230V 0.37 kW | Invertek | ODE-3-120023-1F12 | VFD-LV023-.5HP | .5 HP | composite resin | 2-3 weeks | 187 | 224.4 |  | 336.6
VFD 1x240V 0.37 kW (single phase) | Invertek | ODE-3-120043-1F12-01 | VFD-LV043-.5HP | .5 HP | composite resin | 2-3 weeks | 225 | 270 |  | 405
VFD 3x400V 0.37 kW | Invertek | ODE-3-140012-3F12 | VFD-HV012-.5HP | .5 HP | composite resin | in-stock | 220 | 264 |  | 396
VFD 3x400V 0.75 kW | Invertek | ODE-3-140022-3F12 | VFD-HV022-1HP | 1 HP | composite resin | In-stock | 225 | 270 |  | 405
VFD 3x400V 1.5 kW | Invertek | ODE-3-140041-3F12 | VFD-HV041-2HP | 2 HP | composite resin | In-stock | 319 | 382.8 |  | 574.2
VFD 3x400V 2.2 kW | Invertek | ODE-3-240058-3F42 | VFD-HV058-3HP | 3 HP | composite resin | In-stock | 420 | 504 |  | 756
VFD 3x400V 4 kW | Invertek | ODE-3-240095-3F42 | VFD-HV095-5HP | 5 HP | composite resin | In-stock | 478 | 573.6 |  | 860.4
VFD 3x400V 5.5 kW | Invertek | ODE-3-340140-3F42 | VFD-HV140-7.5HP | 7.5 HP | composite resin | 2-3 weeks | 485 | 582 |  | 873
VFD 3x400V 7.5 kW | Invertek | ODE-3-340180-3F42 | VFD-HV180-10HP | 10 HP | composite resin | 2-3 weeks | 748 | 897.6 |  | 1346.4
VFD 3x400V 11 kW | Invertek | ODE-3-340240-3F42 | VFD-HV240-15HP | 15 HP | composite resin | 2-3 weeks | 760 | 912 |  | 1368
Control Box Componants
Control Box SS (regular) - empy cabinet | Mivalt | ROZV_SS_600_800_300 | BOX-SS-01 | N/A | Stainless-Steel | 4-6 weeks | 1150 | 1380 |  |  |  | 2760
Control Box SS (large) - empty cabinet | Mivalt | ROZV_SS_800_800_300 | BOX-SS-02 | N/A | Stainless-Steel | 4-6 weeks | 950 | 1140 |  |  |  | 2280
Control Box FG (regular) - empy cabinet | Mivalt | ROZV_PLAST_600_800_300 | BOX-FG-03 | N/A | Fiberglass | 4-6 weeks | 350 | 420 |  |  |  | 840
Control Box Lock | Mivalt | LOCK-SS-ELDON | LOCK-SS-01 | N/A | Stainless-Steel | In-stock | 38 | 45.6 |  |  |  | 91.2
Control Box Key | Mivalt | KEY-PD-QK-UBB5 | KEY-SS-01 | N/A | Stainless-Steel | In-stock | 4 | 4.8 |  |  |  | 9.6
Control Panel w/Componants (Mivalt standard controls) | Mivalt | ROZV_MPDW_3x460V_3+PE_131/201/30X/40X | CONT-PAN-SP | varies | Stainless-Steel | 3-4 weeks | [6 empty] | pricing varies
Control Panel w/Componants (Allen-Bradley) | Allen-Bradley |  | CONT-PAN-AB | varies | Stainless-Steel | 34-45 weeks | [6 empty] | pricing varies
Allen Bradley Controls Integration | Allen-Bradley |  | CONT-AB-INT | N/A | N/A | [7 empty] | pricing varies
Control Panel w/Componants for Cake Pump | Mivalt | ROZV_CAKE_PUMP_2-15HP_BASE | CONT-PAN-CP | 2-15 HP | Stainless-Steel | 3-4 weeks | [6 empty] | pricing varies
Control Panel w/Componants for Belt Filter | Mivalt |  | CONT-PAN-BF | 2-15 HP | Stainless-Steel | 3-4 weeks | [6 empty] | pricing varies
Control Panel Cover | Mivalt |  | CONT-PAN-COV | N/A | Stainless-Steel | 3-4 weeks | 780 | 936 |  |  |  | 1872
HMI Enclosure (includes SS Box, HMI & programming) | Mivalt |  | HMI-ENCL-SS |  | Stainless-Steel | 3-4 weeks
VFD Enclosure (includes SS Box, VFD's and HMI or Keypad) | Mivalt |  | VFD-ENCL-SS | 2-15 HP | Stainless-Steel | 3-4 weeks | [6 empty] | pricing varies
Sensors & Meters
Chemical Dosing Pump (Auxiliary Pump) | Injecta | Athena AT.AM4 50l/h | DOS-ATH-AM4 |  |  | 4-6 weeks | 406 | 487.2 |  |  |  | 974.4
Flowmeter DN50 (MD 201 - MD 401) | Dallan BYQ | DC-E-50 DC24V 4-20mA | FLOW-DN50 | DC 24V | Carbon Steel, FEP | In-stock | 950 | 1140 |  |  |  | 3500
Flowmeter DN80 (MD 402-MD 403) | Dallan BYQ | DC-E-80 DC24V 4-20mA | FLOW-DN80 | DC 24V | Carbon Steel, FEP | In-stock | 950 | 1140 |  |  |  | 3500
Flowmeter - Endress Hauser (ProMag) | Endress Hauser | ProMag ProLine | FLOW-EH-PRO |  | Carbon Steel | 3-4 weeks
Level Sensors - Screw Press (SS Rod w/plastic housing) | Lovato | SHR2 | LS-SHR2-SS |  | Stainless-Steel | In-stock | 18.6 | 22.32 |  |  |  | 44.64
pH Transmitter | Mettler Toledo | pH Transmitter M100 | PH-TRA-M100 |  |  | 6-8 weeks | 550 | 660 |  |  |  | 1320
pH System (pH Meter with chemical dosing pump) | Mettler Toledo | M200 Easyline (kit) & Athena dosing pump | PH-SYS-PUMP |  |  | 6-8 Weeks | 1956 | 2347.2 |  |  |  | 4694.4
pH Sensor Cable | Mettler Toledo | AK9/5M | PH-SEN-M200 | N/A |  | 6-8 Weeks | 150 | 180 |  |  |  | 360
pH Probe | Mettler Toledo | M200 Easyline Probe | PH-PRO-M200 | 20-30V DC |  | 6-8 Weeks | 450 | 540 |  |  |  | 1080
Pressure Sensor - Cake Pump (G 1/2 MPT, SS412, 60 bar) | Sendo Sensor | MOD/19254 | SENS-HOP-SS412 | 0-10V | Stainless-steel | 2-3 Weeks | 271 | 325.2 |  |  |  | 650.4
Pressure Sensor - Screw (G 1/2 MPT SS412, 2.5 bar) | Sendo Sensor | MOD/19256 | SENS-SCR-SS412 | 0-10V | Stainless-Steel | 2-3 Weeks | 271 | 325.2 |  |  |  | 650.4
Sensors & Meters | Lefoo | T3000 0-600 mbar, DC24V 4-20mA, G1/2" | SENS-PRE-T3000 | DC 24V | Stainless-steel | 4-6 Weeks | 206 | 247.2 |  |  |  | 494.4
Turbidity (TSS) Sensor | Sure Instrament | Turbidity (TSS) Sensor 0-4000 NTU) Modbus RTU communication | SENS-TSS-TB2 | N/A | Stainless-Steel | 6-8 Weeks | 1800 | 2160 |  |  |  | 4320
Ultrasonic Distance Sensor/Cable (UB2000-F42-U-V15) | Pepperl & Fuchs | MEL/17774 | SENS-UB-2000 | DC 24V, 0-10V | ABS | 2-3 Weeks | 407 | 488.4 |  |  |  | 976.8
Ultrasonic Distance Sensor/Cable (UB6000-F42-U-V15) range 0-120g/l | Pepperl & Fuchs | ZOS/16279 | SENS-UB-6000 | DC 24V | Stainless-steel | 4-6 Weeks | 1573 | 1887.6 |  |  |  | 3775.2
Ultrasonic Sensor | Proximity Sensors | RU18-DU160-VK1 0-10V 0-1600mm | SENS-RU18-159 | DC 24V |  | Disc | 275 | 330 |  | 495 |  | 660
Other Parts
2" SS Manual Ball Valve , 2-part DN50 | Mivalt | BALL VALVE SS, 2part, DN50, manual | BV-SS-DN50 | N/A | stainless-steel | 2-3 Weeks | 140 | 168 |  |  |  | 336
2.5" SS Manual Ball Valve , 3-part DN65 | Mivalt | BALL VALVE SS, 3part, DN65, manual | BV-SS-DN65 | N/A | stainless-steel | 2-3 Weeks | 211 | 253.2 |  |  |  | 506.4
2" Ball Valve (SS) w/electric actuator (w/position feedback signals) | Mivalt | JS-02 DC24V, DN50 | BV-AIR-DN50 | DC 24V | Stainless-steel | 2-3 Weeks | 465 | 558 |  |  |  | 1116
3" Knife Gate Valve | Mivalt | DN80 (3"), PN10 | GV-PN-DN80 | N/A | Stainless-steel | 3-4 weeks | 775 | 930 |  |  |  | 1860
5" Knife Gate Valve | Mivalt | DN125 (5“), PN10 | GV-PN-DN125 | N/A | Stainless-steel | 3-4 weeks | 860 | 1032 |  |  |  | 2064
6" Knife Gate Valve | Mivalt | DN150 (6“), PN10 | GV-PN-DN150 | N/A | Stainless-steel | 3-4 weeks | 995 | 1194 |  |  |  | 2388
Cone Bottom Tank | Varies |  | TANK-MIX-CB | N/A | Resin/Plastic | 10-12 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Hopper for Cake Pump | Mivalt |  | HOPP-SS-CP | N/A | stainless-steel | 4-6 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Hopper for Screw Press | Mivalt |  | HOPP-SS-SP | N/A | stainless-steel | 4-6 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Pipe Coupling (Fernco 2") | Flexseal | D60 | FERN-CO-060 | N/A | Rubber | 2-3 Weeks | 33 | 39.6 |  |  |  | 79.2
Pipe Coupling (Fernco 4") | Flexseal | D110 | FERN-CO-110 | N/A | Rubber | In-stock | 38.5 | 46.2 |  |  |  | 92.4
Pipe Coupling (Fernco 7") | Flexseal | D165 | FERN-CO-165 | N/A | Rubber | In-stock | 49.5 | 59.4 |  |  |  | 118.8
Plastic Handle (for SS Doors) | Mivalt |  | HAN-SS-MD | N/A | Plastic | In-stock | 6 | 7.2 |  |  |  | 14.4
Solenoid Valves (no diaphragm in valve) NC 1/2" | Mivalt | MP-720 NC DC24V | SOL-720-SV | DC 24V | stainless-steel | In-stock | 55 | 66 |  |  |  | 132
Solenoid Valves NC 1/4" | Mivalt | MP-W-124-08SN NC 24V DC | SOL-124-08SN | DC 24V | stainless-steel | 2-3 Weeks | 5 | 6 |  |  |  | 12
Solenoid Valves NC 1/2" | Mivalt | MP-W-160-15SN NC 24V DC | SOL-160-15SN | DC 24V | stainless-steel | In-stock | 80 | 96 |  |  |  | 192
Solenoid Valves NC 3/4" | Mivalt | MP-W-200-20SN NC 24V DC | SOL-200-20SN | DC 24V | stainless-steel | In-stock | 85 | 102 |  |  |  | 204
Solenoid Valve Plugs w/LED varistor (for all valves) | Mivalt | PLUG-MP-W-160-15SN | SOL-PLUG-160 | DC 24V | stainless-steel | In-stock | 10 | 12 |  |  |  | 24
Stand - Screw Press (Stainless-Steel) | Mivalt |  | STAND-SS-SP | N/A | stainless-steel | 4-6 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Stand - Screw Press, I-Beam Galvanized-Steel (MD 402/MD 403) | Mivalt |  | STAND-GS-SP | N/A | stainless-steel | 4-6 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Stand - for Cake Pump | Mivalt |  | STAND-SS-CP | N/A | stainless-steel | 4-6 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Stand - Elevated Platform for Screw Press (Carbon-Steel) | Mivalt |  | STAND-CBS-SP | N/A | carbon-steel | 4-6 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Stand - Elevated Platform for MD 401 Screw Press (Carbon-Steel) | Mivalt |  | STAND-CBS-SP | N/A | carbon-steel | 4-6 weeks | 24000 | 28800 | 38880 | 43200 |  | 57600
Skidded Platform for Screw Press | Mivalt |  | PLAT-SS-SP | N/A | stainless-steel | 4-6 weeks | Price varies | Price varies |  | . |  | Price varies
Trapezoidal Screw Set | Mivalt |  | SCREW-TRAP-SET | N/A | stainless-steel | 3-4 weeks | 60 | 72 |  |  |  | 144
Trailer Build Out | GDS |  | TRAIL-20-SSP |  | varies | 10-12 weeks | Price varies | Price varies |  | Price varies |  | Price varies
Screw Conveyors & Componants
11' Screw Conveyor (custom-not stocked) | Mivalt | MP-SC-3.5 | CONV-SS-11 | .75 HP | Stainless-Steel | 8-10 weeks | 8300 | 9960 |  | 14940 | 17928 | 19920
13' Screw Conveyor (T-196) | Mivalt | MP-SC-4 | CONV-SS-13 | .75 HP | Stainless-Steel | 8-10 weeks | 8800 | 10560 |  | 15840 | 19008 | 21120
13' Horizontal Screw Conveyor 13' (T-309) (Bi-directional, w/2 pneumatic DP + 1 gravity DP) | Mivalt | MP-SC-4-EF-BI-D | CONV-EF-BID-13-3DP | .75 HP | Stainless-Steel | 8-10 weeks | 10093 | 12111.6 |  | 18167.4 | 21800.88 | 24223.2
13' Horizontal Screw Conveyor (T-285) (Bi-directional, wide hopper, w/2 gravity DP) | Mivalt | MP-SC-4-EF-BI | CONV-EF-BI-13 | .75 HP | Stainless-Steel | 8-10 weeks | 8600 | 10320 |  | 15480 | 18576 | 20640
13' Horizontal Screw Conveyor (T-287) (Bi-directional, w/2 gravity DP) | Mivalt | MP-SC-4-EF-BI-B | CONV-EF-BIB-13 | .75 HP | Stainless-Steel | 8-10 weeks | 8500 | 10200 |  | 15300 | 18360 | 20400
16' Screw Conveyor (T-144) | Mivalt | MP-SC-5 | CONV-SS-16 | .75 HP | Stainless-Steel | 8-10 weeks | 9200 | 11040 |  | 16560 | 19872 | 22080
16' Screw Conveyor w/2 gravity fed drop points | Mivalt | MP-SC-5-EF | CONV-EF-16-2GDP | .75 HP | Stainless-Steel | 8-10 weeks | 8700 | 10440 |  | 15660 | 18792 | 20880
16' Screw Conveyor Bi-directional w/2 gravity fed drop points | Mivalt | MP-SC-5-EF-BI | CONV-EF-BI-16 | .75 HP | Stainless-Steel | 8-10 weeks | 9500 | 11620 |  | 17430 | 20916 | 23240
16' Horizontal Screw Conveyor (w/1 pneumatic drop point) | Mivalt | MP-SC-5-EF | CONV-EF-16-1DP | .75 HP | Stainless-Steel | 8-10 weeks | 9086 | 10903.2 |  | 16354.8 | 19625.76 | 21806.4 |  | 0
16' Horizontal Screw Conveyor (T-162) (w/2 pneumatic drop point) | Mivalt | MP-SC-5-EF | CONV-EF-16-2DP | .75 HP | Stainless-Steel | 8-10 weeks | 10252 | 12302.4 |  | 18453.6 | 22144.32 | 24604.8
16' Horizontal Screw Conveyor (w/3 pneumatic drop point) | Mivalt | MP-SC-5-EF | CONV-EF-16-3DP | .75 HP | Stainless-Steel | 8-10 weeks | 12584 | 15100.8 |  | 22651.2 | 27181.44 | 30201.6
20' Screw Conveyor (T-170) | Mivalt | MP-SC-6 | CONV-SS-20 | .75 HP | Stainless-Steel | 8-10 weeks | 8150 | 9780 |  | 14670 | 17604 | 19560
20' Horizontal Screw Conveyor (w/1 pneumatic drop point) | Mivalt | MP-SC-6-EF | CONV-EF-20-1DP | .75 HP | Stainless-Steel | 8-10 weeks | 10500 | 12600 |  | 18900 | 22680 | 25200
20' Horizontal Screw Conveyor (w/2 pneumatic drop point) | Mivalt | MP-SC-6-EF | CONV-EF-20-2DP | .75 HP | Stainless-Steel | 8-10 weeks | 10482 | 12578.4 |  | 18867.6 | 22641.12 | 25156.8
20' Screw Conveyor w/Wide Hopper (T-308) | Mivalt | MP-SC-6 | CONV-SS-20-WH | .75 HP | Stainless-Steel | 8-10 weeks | 8500 | 10200 |  | 15300 | 18360 | 20400
20' Screw Conveyor (Rotating w/Conical Hopper) | Mivalt | MP-SC-6 Conical | CONV-SS-20-CON |  |  |  | 9550 | 11460 |  | 17190 | 20628 | 22920
26' Horizontal Screw Conveyor | Mivalt | MP-SC-7-EF | CONV-EF-26 | 2 HP | Stainless-Steel | 8-10 weeks | 11200 | 13440 |  | 20160 | 24192 | 26880
26' Horizontal Screw Conveyor (w/1 pneumatic drop points) | Mivalt | MP-SC-7-EF | CONV-EF-26-2DP | 2 HP | Stainless-Steel | 8-10 weeks | 12366 | 14839.2 |  | 22258.8 | 26710.56 | 29678.4
26' Horizontal Screw Conveyor (w/2 pneumatic drop points) | Mivalt | MP-SC-7-EF | CONV-EF-26-3DP | 2 HP | Stainless-Steel | 8-10 weeks | 13532 | 16238.4 |  | 24357.6 | 29229.12 | 32476.8
28' Horizontal Screw Conveyor | Mivalt | MP-SC-8-EF | CONV-EF-28 | 2 HP | Stainless-Steel | 8-10 weeks | 12200 | 14640 |  | 21960 | 26352 | 29280
28' Horizontal Screw Conveyor (w/1 pneumatic drop points) | Mivalt | MP-SC-8-EF | CONV-EF-28-1DP | 2 HP | Stainless-Steel | 8-10 weeks | 13366 | 16039.2 |  | 24058.8 | 28870.56 | 32078.4
28' Horizontal Screw Conveyor (w/2 pneumatic drop points) | Mivalt | MP-SC-8-EF | CONV-EF-28-2DP | 2 HP | Stainless-Steel | 8-10 weeks | 14532 | 17438.4 |  | 26157.6 | 31389.12 | 34876.8
28' Horizontal Screw Conveyor (w/3 pneumatic drop points) | Mivalt | MP-SC-8-EF | CONV-EF-28-3DP | 3 HP | Stainless-Steel | 8-10 weeks | 15690 | 18828 |  | 28242 | 33890.4 | 37656
Drop Points (monostable solenoid valve and pneumatic slide gate) | Mivalt | (MOD/18776, MOD/18777, MOD/18778, MOD/19495, ZVE/12400) | CONV-DP-GATE | N/A | Stainless-Steel | 8-10 weeks | 1166 | 1399.2 |  |  | 2518.56 | 2798.4
Motor for 16'-20' Screw Conveyor (FAF47 DRN80MK4/TF) | SEW Eurodrive | MP-SC-5-MOTOR | MOT-SEW-SC5 | .75 HP | Cast Iron | 8-10 weeks | 920 | 1104 |  |  | 1987.2 | 2208
Motor for 26'-28' Screw Conveyor (FAF47DRN90L4/TF/AL) | SEW Eurodrive | MP-SC-7-MOTOR | MOT-SEW-SC7 | 2 HP | Cast Iron | 8-10 weeks | 1250 | 1500 |  |  | 2700 | 3000
Hanger Bearings Set Screw Conveyor (T-162-20-02) | Mivalt | MDO/19681 | CONV-HB-T162 | N/A |  | 2-3 weeks | 145 | 174 |  |  | 313.2 | 348
Plastic Insert (for Hanger Bearings on Screw Conveyor) | Mivalt | T-162-20-02-01 Plastic Insert | CONV-HB-INS | N/A | Plastic | 2-3 weeks | 25 | 30 |  |  | 54 | 60
SS Screw Conveyor Bearing (UCFL 210 – 50mm) | Mivalt | MDO/19685 | CONV-SS-BEAR | N/A | Stainless-Steel | 2-3 weeks | 65 | 78 |  |  | 140.4 | 156
Screw Conveyor Shaft Insert | Mivalt | VDO-0020921 Shaft Insert | CONV-SHA-SS | N/A | Stainless-Steel | 8-10 weeks | 37 | 44.4 |  |  | 79.92 | 88.8
Replacement Auger (MP-SC-5) | Mivalt | MP-SC-5 Screw Auger | CONV-AUG-SC5 | N/A | Stainless-Steel | 8-10 weeks | 3500 | 4200 |  | 6300 | 7560 | 8400
Replacement Auger (MP-SC-6) | Mivalt | MP-SC-6 Screw Auger | CONV-AUG-SC6 | N/A | Stainless-Steel | 8-10 weeks | 3900 | 4680 |  | 7020 | 8424 | 9360
Gearbox Side Shaft Pin | Mivalt | MDO/21303 | CONV-PIN-GB | N/A | Stainless-Steel | 8-10 weeks | 175 | 210 |  | 315 | 378 | 420
Pin DIN1444B 12x60 A2/A4 (2 pc) | Mivalt | MDO/21112 | CONV-PIN-12 | N/A | Stainless-Steel | 8-10 weeks | 26 | 31.2 |  | 46.8 | 56.16 | 62.4
Split Pin 3.2x20 A2/A4 (2 pc) | Mivalt | MDO/21113 | CONV-PIN-20 | N/A | Stainless-Steel | 8-10 weeks | 1 | 1.2 |  | 1.8 | 2.16 | 2.4
Belt Conveyors & Componants
Belt Conveyor 16' | Mivalt | MP-BC-5 | BELT-CON-16 | .75 HP | Stainless-Steel | 4-6 weeks | 6480 | 7776 |  | 11664 | 13996.8 | 15552
Belt Conveyor 20' | Mivalt | MP-BC-6 | BELT-CON-20 | .75 HP | Stainless-Steel | 4-6 weeks | 7120 | 8544 |  | 12816 | 15379.2 | 17088
Replacement Belt for 20' Belt Conveyor | Mivalt | MP-BC-6, PVC+PES 400mm x 13,257mm | BELT-PVC-20 | N/A | PVC | 2-3 weeks | 1550 | 1860 |  |  | 3348 | 3720
Replacement Belt for 16' Belt Conveyor | Mivalt | MP-BC-6, PVC+PES | BELT-PVC-16 | N/A | PVC | 2-3 weeks | 1250 | 1500 |  |  | 2700 | 3000
Motor for 16' Belt Conveyor | SEW Eurodrive | MP-BC-5-MOTOR | MOT-SEW-BC5 | .16 HP | Cast Iron | 4-6 weeks | 680 | 816 |  |  | 1468.8 | 1632
Motor for 20' Belt Conveyor | SEW Eurodrive | MP-BC-6-MOTOR | MOT-SEW-BC6 | .16 HP | Cast Iron | 4-6 weeks | 680 | 816 |  |  | 1468.8 | 1632
Ball Bearing w/Housing (belt conveyor) | Mivalt | Ball Bearing UCF205 | BEAR-BC-205 | N/A | Stainless-Steel | 2-3 weeks | 12 | 14.4 |  |  | 25.92 | 28.8
Drive Drum (2 piece bottom & top) belt conveyor | Mivalt |  | DRUM-BC-SS | N/A | Stainless-Steel | 4-6 weeks | 700 | 840 |  |  | 1512 | 1680
Screws, Nuts & Bolts Set (belt conveyor) | Mivalt |  | BOLT-BC-SET | N/A | Stainless-Steel | 1-2 weeks | 17 | 20.4 |  |  | 36.72 | 40.8
Scraper Assembly | Mivalt |  | SCRAP-COM-SS | N/A | Stainless-Steel | 2-3 weeks | 80 | 96 |  |  | 172.8 | 192
Rubber Scraper (Wiper) | Mivalt |  | SCRAP-BC-RUB | N/A | Rubber | 2-3 weeks | 5 | 6 |  |  | 10.8 | 12
Wheels for Belt Conveyor MP-BC-6 | Mivalt |  | WHEEL-BC-6 | N/A | Stainless-Steel | 2-3 weeks | 22.5 | 27 |  |  | 48.6 | 54
2 1/2" Flanged Bearing 2-Bolt | Mivalt | UCFL210 | FLAN-BEA-210 | N/A | Carbon- Steel | 2-3 weeks | 130 | 156 |  |  | 280.8 | 312
20' Replacement Belt (Netex Conveyor) | Mivalt | PVC flat belt 400x12160 mm (6m) | BELT-CON-N20 |  | PVC | 2-3 weeks | 770 | 924 |  |  | 1663.2 | 1848
Middle Pulley (Netex Conveyor) | Mivalt |  | PULL-CON-N20 |  |  | 2-3 weeks | 40 | 48 |  |  | 86.4 | 96
Miscellaneous Parts for Screw Conveyor | Mivalt |  | MP-SC-MISC | [7 empty] | 0
Other Mivalt Equipment
Belt Filter | Mivalt | MP-BF-3.6M | MP-BF-3.6M
Wedge Wire Press | Mivalt | MP-SS-201 | MP-SS-201 |  | Stainless-Steel
Pipe Flocculator | GDS |  | PIPE-FLOC-PVC |  | PVC
Parts for Pneumatic Pressure Plates
Pressure Filter Regulator G 1/2 port, w/pressure gauge (0-10bar), filtration to 40 microns | SNS | ZOS/05519 | AIR-COM-10BAR | N/A |  | 2-3 weeks | 45 | 54 |  |  |  | 108
Double Action Pneumatic Cylinder D80x25 (Actuator piston 40mm, 1.5-8 bar) | Mivalt | MOD/12966 | PNEU-ACT-25MM | N/A | Stainless-Steel | 2-3 weeks | 50 | 60 |  |  |  | 120
Fittings for 8mm hose OD G 1/4" NPT male | CEKER | MOS/18175 | FIT-G14-8MM | N/A | Stainless-Steel | 2-3 weeks | 1.5 | 1.8 |  |  |  | 3.6
Pneumatic Hose 8mm OD – PU PN10, 25m (75ft) | Mivalt | MPL/18005 | HOSE-PN10-8MM | N/A | Polyurethane | 2-3 weeks | 15 | 18 |  |  |  | 36
Pneumatic Manifold Air Distribution Block G 1/4" inner thread – 4 way | LDEXIN | MOD/13397 | MAN-AIR-4WAY | N/A | Aluminium | 2-3 weeks | 23 | 27.6 |  |  |  | 55.2
Solenoid Control Valve, monostable 5/2, G1/4“ port (4V310-08B) | AirTAC | ZVE/12400 | SOL-VAL-MO52 | 24V DC | Aluminium | 2-3 weeks | 22 | 26.4 |  |  |  | 52.8
Parts for Pnuematic Drop Points for Conveyors (CONV-DP-GATE)
Pneumatic Drop Point Kit **(sold as set -includes all parts below) | Mivalt |  | CONV-DP-GATE | 24V DC |  | 2-3 weeks | 1166 | 1399.2 |  | 2098.8 | 2518.56 | 2798.4
Monostable Solenoid 5/2 G1/4 DC24V 4V310-08B | AirTAC | ZVE/12400 | SOL-VAL-MO52 | 24V DC |  | 2-3 weeks | 20 | 24 |  | 36 | 43.2 | 48
Pneumatic Slide Gate T-162-13 | Mivalt | MOD/18776 | PNEU-SG-T162 | N/A |  | 2-3 weeks | 860 | 1032 |  | 1548 | 1857.6 | 2064
Pneumatic Cylinder/Linear Actuator (SU-S80-250-CA) | Mivalt | MOD/19495 | PNEU-ACT-250CA | N/A |  | 2-3 weeks | 185 | 222 |  | 333 | 399.6 | 444
Pneumatic Cylinder Holder D80x250mm | Mivalt | MOD/18777 ? | PNEU-HOL-250MM | N/A |  | 2-3 weeks | 60 | 72 |  | 108 | 129.6 | 144
Pressure Filter Regulator G 1/2 port, w/pressure gauge (0-10bar), filtration to 40 microns | Mivalt | ZOS/05519 | AIR-COM-10BAR | N/A |  | 2-3 weeks | 41 | 49.2 |  | 73.8 | 88.56 | 98.4
Damper Fitting (for solenoid) G 1/4" Brass | Mivalt | MOS/18188 | FIT-SOL-G14 | N/A |  | 2-3 weeks
Quick Coupling Elbow, G1/4", for 6x8mm hose | Mivalt | MOS/18175 | COU-ELB-G14 | N/A |  | 2-3 weeks
Current as of 11/01/2024

## Allan Bradley
Part Label | Item/Part Name | Manufacturer | Manufacturer Part Number | GDS Part Number | Power | Lead Time | Cost (Euros) | Cost USD | Price 50% | Price 100%
S-KM1 | Guardmaster Safety Relay | Allen Bradley | 440R-N23120 | REL-AB-3120 |  | 8-10 weeks | 94 | 112.8 | 169.2 | 225.6
PLC1 | CompactLogix Enet Controller | Allen Bradley | 5069-L306ER | COM-AB-L306 | 24V DC | 8-10 weeks | 560 | 672 | 1008 | 1344
PLC2 | CompactLogix 5000 Input Module | Allen Bradley | 5069-1B16 | COM-AB-1B16 |  | 8-10 weeks | 170 | 204 | 306 | 408
PLC3 | CompactLogix 5000 Relay Output Module | Allen Bradley | 5069-OW16 | COM-AB-0W16 |  | 8-10 weeks | 452 | 542.4 | 813.6 | 1084.8
PLC4 | CompactLogix 5000 Analog Input Module | Allen Bradley | 5069-IF8 | COM-AB-IF8 |  | 8-10 weeks | 559 | 670.8 | 1006.2 | 1341.6
DISP | PanelView 5000 12" Terminal | Allen Bradley | 2713P-T12WD1 | PAN-AB-T12W | 24V DC | 8-10 weeks | 1980 | 2376 | 3564 | 4752
| Stratix 2500 Ethernet Switch | Allen Bradley | 1783-LMS8 | ETH-AB-LMS8 |  | 8-10 weeks | 424 | 508.8 | 763.2 | 1017.6
S1 | Main load switch 80 A | Allen Bradley | 194E-A80-1753 | SWI-AB-1753 | 80 A | 8-10 weeks | 43 | 51.6 | 77.4 | 103.2
FA1 | Circuit breaker 40A/C/3 | Allen Bradley | 1492-SPM3C400 | BRK-AB-C400 | 40 A | 8-10 weeks | 35 | 42 | 63 | 84
FA2 | Circuit breaker 6A/C/3 | Allen Bradley | 1492-SPM3C060 | BRK-AB-C060 | 6 A | 8-10 weeks | 27 | 32.4 | 48.6 | 64.8
FA3 | Circuit breaker 10A/C/3 | Allen Bradley | 140MT-C3E-C10 | BRK-AB-C10 | 10 A | 8-10 weeks | 43 | 51.6 | 77.4 | 103.2
FA4 | Circuit breaker 10/A/C/3 | Allen Bradley | 140MT-C3E-C10 | BRK-AB-C10 | 10 A | 8-10 weeks | 43 | 51.6 | 77.4 | 103.2
FA5 | Circuit breaker 10A/C/3 | Allen Bradley | 140MT-C3E-C10 | BRK-AB-C10 | 10 A | 8-10 weeks | 43 | 51.6 | 77.4 | 103.2
FA6 | Circuit breaker 10/A/C/3 | Allen Bradley | 140MT-C3E-C10 | BRK-AB-C10 | 10 A | 8-10 weeks | 43 | 51.6 | 77.4 | 103.2
FA7 | Circuit braker 45A/C/3 | Allen Bradley | 140M-F8E-C45 | BRK-AB-C45 | 45 A | 8-10 weeks | 115 | 138 | 207 | 276
L1 | Input line reactor | Allen Bradley | 1321-3R4-B | REA-AB-3R4B | 4 A | 8-10 weeks | 135 | 162 | 243 | 324
L2 | Input line reactor | Allen Bradley | 1321-3R4-B | REA-AB-3R4B | 4 A | 8-10 weeks | 135 | 162 | 243 | 324
L3 | Input line reactor | Allen Bradley | 1321-3R4-B | REA-AB-3R4B | 4 A | 8-10 weeks | 135 | 162 | 243 | 324
L4 | Input line reactor | Allen Bradley | 1321-3R4-B | REA-AB-3R4B | 4 A | 8-10 weeks | 135 | 162 | 243 | 324
L5 | Input line reactor | Allen Bradley | 1321-3R25-B | REA-AB-3R25 | 25 A | 8-10 weeks | 247 | 296.4 | 444.6 | 592.8
FM1 | PowerFlex 525 (screw motor 1) | Allen Bradley | 25B-D4P0N114 | POW-AB-D4P0 | 2 HP | 8-10 weeks | 572 | 686.4 | 1029.6 | 1372.8
FM2 | PowerFlex 525 (screw motor 2) | Allen Bradley | 25B-D4P0N114 | POW-AB-D4P0 | 2 HP | 8-10 weeks | 572 | 686.4 | 1029.6 | 1372.8
FM3 | PowerFlex 525 (screw motor 3) | Allen Bradley | 25B-D4P0N114 | POW-AB-D4P0 | 2 HP | 8-10 weeks | 572 | 686.4 | 1029.6 | 1372.8
FM4 | PowerFlex 525 (mixing motor) | Allen Bradley | 25B-D4P0N114 | POW-AB-D4P0 | 2 HP | 8-10 weeks | 572 | 686.4 | 1029.6 | 1372.8
FM5 | PowerFlex 525 (feed pump) | Allen Bradley | 25B-D024N114 | POW-AB-D024 | 15 HP | 8-10 weeks | 1406 | 1687.2 | 2530.8 | 3374.4
KA1 | Relay 10A, 24v DC coil | Allen Bradley | 700-HA33Z24-3 | REL-AB-Z243 | 10 A, 24V DC | 8-10 weeks | 15 | 18 | 27 | 36
KA2 | Relay 10A, 24v DC coil | Allen Bradley | 700-HA33Z24-3 | REL-AB-Z243 | 10 A, 24V DC | 8-10 weeks | 15 | 18 | 27 | 36
KA3 | Relay 10A, 24v DC coil | Allen Bradley | 700-HA33Z24-3 | REL-AB-Z243 | 10 A, 24V DC | 8-10 weeks | 15 | 18 | 27 | 36
KA4 | Relay 10A, 24v DC coil | Allen Bradley | 700-HA33Z24-3 | REL-AB-Z243 | 10 A, 24V DC | 8-10 weeks | 15 | 18 | 27 | 36
KA5 | Relay 10A, 24v DC coil | Allen Bradley | 700-HA33Z24-3 | REL-AB-Z243 | 10 A, 24V DC | 8-10 weeks | 15 | 18 | 27 | 36
KA6 | Relay 10A, 24v DC coil | Allen Bradley | 700-HA33Z24-3 | REL-AB-Z243 | 10 A, 24V DC | 8-10 weeks | 15 | 18 | 27 | 36
KA7 | Relay 10A, 24v DC coil | Allen Bradley | 700-HA33Z24-3 | REL-AB-Z243 | 10 A, 24V DC | 8-10 weeks | 15 | 18 | 27 | 36
| 194L Control and Load Switch Actuator | Allen Bradley | 194L-HE6N-175 | SWI-AB-HE6N | B7 | 8-10 weeks | 5.7 | 6.84 | 10.26 | 13.68
| 11 Pin Guarded Tube Based Relay Socket | Allen Bradley | 700-HN205 | REL-AB-HN205 | B5 | 8-10 weeks | 3.92 | 4.704 | 7.056 | 9.408
T1 | Transformer Pro-ECO3 (low voltage) | Weidmuller | PRO-ECO3 24VDC 10A 240W | TRAN-LV-240 | 24V DC, 10A, 240 W | In-stock | 185 | 222 | 333 | 444
R1 | HRH5 | Elko |  | LR-HRH5-DC24 |  | In-stock | 50 | 60 | 90 | 120
R2 | HRH5 | Elko |  | LR-HRH5-DC24 |  | In-stock | 50 | 60 | 90 | 120
26 | Screw 1 (internal pressure sensors) | Sendo | SS412.P1.01.A.04.B | SEN-INT-SS412 | 0-10V | In-stock | 250 | 300 | 450 | 600
27 | Screw 2 (internal pressure sensors) | Sendo | SS412.P1.01.A.04.B | SEN-INT-SS412 | 0-10V | In-stock | 250 | 300 | 450 | 600
28 | Screw 3 (internal pressure sensors) | Sendo | SS412.P1.01.A.04.B | SEN-INT-SS412 | 0-10V | In-stock | 250 | 300 | 450 | 600
| Control Box SS (large) | Mivalt |  | BOX-SS-02 |  | 3-4 weeks | 950 | 1140 | 1710 | 2280
10970.4

## MD 131
Item Name (MD 131) | QTY Per Screw | Manufacturer | Mivalt Part Number | GDS Part Number | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Complete Ring Assembly** | 1 | Mivalt | 131-DW-BLOCK | RING-COM-131 | N/A | Stainless-Steel | 4-6 weeks | 8740 | 10488 | 15732 | 20976
Screw Tungsten Carbide | 1 | Mivalt | 131-SCREW-SHAFT-TNGST | SCREW-TC-131 | N/A | Stainless-Steel | 4-6 weeks | 3500 | 4200 | 6300 | 8400
Set of Rings (loose rings) | 1 SET | Mivalt | 131-MOVING-RINGS-SET | RING-SET-131 | N/A | Stainless-Steel | 4-6 weeks | 1430 | 1716 | 2574 | 3432
Bolt Allen M8x30 | 4 | Mivalt |  | BOLT-M8-30 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Fixed Ring 1.5mm | 100 | Mivalt |  | RING-FX-1.5 | N/A | Stainless-Steel | 2-3 weeks | 11 | 13.2 |  | 26.4
Fixed Ring 2.5mm | 73 | Mivalt |  | RING-FX-2.5 | N/A | Stainless-Steel | 2-3 weeks | 11 | 13.2 |  | 26.4
Flat Washer M12 | 8 | Mivalt |  | WASH-FL-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Flat Washer M8 | 8 | Mivalt |  | WASH-FL-M8 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Hexagonal Nut M12 | 8 | Mivalt |  | NUT-HX-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Loose Ring 1.5mm | 100 | Mivalt |  | RING-LS-1.5 | N/A | Stainless-Steel | 2-3 weeks | 6 | 7.2 |  | 14.4
Loose Ring 2.5mm | 89 | Mivalt |  | RING-LS-2.5 | N/A | Stainless-Steel | 2-3 weeks | 6 | 7.2 |  | 14.4
Pressure Plate | 1 | Mivalt |  | PLATE-PS-131 | N/A | Stainless-Steel | 2-3 weeks | 60 | 72 |  | 144
Pressure Plate Spring | 1 | Mivalt | PRUZ-TALIR-131 | SPRING-PP-131 | N/A | Stainless-Steel | 2-3 weeks | 30 | 36 |  | 72
Self-Locking Hexagonal Nut M12 | 8 | Mivalt |  | NUT-SLHX-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Sensor Ring | 1 | Mivalt |  | SENS-RG-201 | N/A | Stainless-Steel | 2-3 weeks | 120 | 144 |  | 288
Spacer 1.75mm | 400 | Mivalt |  | SPACE-MD-1.75 | N/A | Stainless-Steel | 2-3 weeks | 5.7 | 6.84 |  | 13.68
Spacer 3mm | 288 | Mivalt |  | SPACE-MD-3 | N/A | Stainless-Steel | 2-3 weeks | 1.7 | 2.04 |  | 4.08
Spring Washer M12 | 8 | Mivalt |  | WASH-SPG-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Spring Washer M8 | 4 | Mivalt |  | WASH-SPG-M8 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 | 1.8 | 2.4
** Complete Ring Assembly Includes: screw shaft, loose rings, fixed rings, spacers, guiding rods, lower bearing
Item Name (MD 131) | QTY Per press | Manufacturer | Mivalt Part Number | GDS Part Number | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Ball Valve DN50 (2") | 1 | Mivalt | BALL-VALVE-SSS 2 part DN50 | BV-SS-DN50 | N/A | Stainless-Steel | 3-4 weeks | 140 | 168 |  | 336
Handles for Cover Plates | 4 | Mivalt |  | HANDLE-PL-MD | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Mixing Blades | 1 set | Mivalt | 131-MIXING-RING | MIX-BL-131 | N/A | Stainless-Steel | 4-6 Weeks | 110 | 132 |  | 264
Mixing Gearbox | 1 | Motive | BOX050/40 | MIX-BOX-050 |  | Aluminum Alloy | In-Stock | 210 | 252 |  | 504
Mixing Motor | 1 | Motive | D71B4 - 0.37kW | MIX-MOT-D71 | .5 HP | Aluminum Alloy | In-Stock | 210 | 252 |  | 504
Mixing Motor & Gearbox | 1 | Motive | BOX050/40+D71B4 - 0.37kW | MIX-GBM-050 | .5 HP | Aluminum Alloy | In-Stock | 420 | 504 |  | 1008
Mixing Shaft | 1 | Mivalt | 131-MIXING-SHAFT | MIX-SH-131 | N/A | Stainless-Steel | 4-6 Weeks | 100 | 120 |  | 240
Overflow Handel | 1 | Mivalt |  | OVER-HD-131 | N/A | Stainless-Steel | 4-6 Weeks | 20 | 24 |  | 48
Pipe Coupling (Fernco) | 1 | Flexseal | D60 | FERN-CO-060 | N/A | Rubber | 2-3 Weeks | 33 | 39.6 |  | 79.2
Polymer Injector Assembly |  | Mivalt | MOD/21428 | NOZZ-POL-SS | N/A | Stainless-Steel | 4-6 weeks | 110 | 132 |  | 264
Polymer Spray Nozzle (SS 316 G 1/4" 6510) | 1 | Mivalt | MKO/0012737 | NOZZ-POL-MD | N/A | Stainless-Steel | 4-6 weeks | 14.5 | 17.4 |  | 34.8
Screw Cover Plate (Large) | 2 | Mivalt |  | COVER-LG-131 | N/A | Stainless-Steel | 4-6 Weeks | 90 | 108 |  | 216
Screw Gearbox | 1 | SEW | FAF37 R17, 7.4RPM | SEW-BOX-F37 |  | Cast Iron | 4-6 Weeks | 506 | 607.2 |  | 1214.4
Screw Gearbox & Motor | 1 | SEW | FAF37 R17, 7.4RPM+DRN63MS4/TF, 0.12kW | SEW-GBM-DRN63 | .16 HP | Cast Iron | 4-6 Weeks | 926 | 1111.2 |  | 2222.4
Screw Gearbox Cap | 1 | SEW | CAP-FAF77 | SEW-CAP-F77 | N/A | Plastic | In-Stock | 10 | 12 |  | 24
Screw Motor | 1 | SEW | DRN63MS4/TF, 0.12kW | SEW-MOT-DRN63 | .16 HP | Cast Iron | 4-6 Weeks | 420 | 504 |  | 1008
Screw Motor Fan | 1 | SEW |  | FAN-MT-DRN80 | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Screw Motor Fan Guard | 1 | SEW |  | FAN-GD-DRN80 | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Screw Shaft Dry Bearing (end cap) | 1 | Mivalt | LOZ_SILON_131 | BEAR-SS-131 | N/A | Polyamide | 2-3 Weeks | 48 | 57.6 |  | 115.2
Screw Spray Nozzles | 2 | Mivalt |  | NOZZ-SPR-131 | N/A | Stainless-Steel | 2-3 Weeks | 10 | 12 |  | 24
Shaft Collar Clamp | 1 | Mivalt | PRITL_KR_PRUZ_131 | SHAFT-CC-131 | N/A | Stainless-Steel | In-Stock | 28 | 33.6 |  | 67.2
Solenoid Valve Plugs w/LED varistor | 2 | Mivalt | PLUG-MP-W-720-15SN | SOL-PLUG-720 | DC 24 V | Stainless-Steel/Plastic | In-Stock | 10 | 12 |  | 24
Solenoid Valves NC 1/2" | 2 | Mivalt | MP-720 NC DC24V | SOL-720-15SN | DC 24 V | Stainless-Steel/Plastic | In-Stock | 55 | 66 |  | 132
Solids Discharge Cover | 1 | Mivalt |  | COVER-SD-131 | N/A | Stainless-Steel | 4-6 Weeks | 40 | 48 |  | 96
Standpipe | 1 | Mivalt |  | STAN-PIPE-131 | N/A | Stainless-Steel | 4-6 Weeks | 150 | 180 |  | 360
Optional Equipment:
Flowmeter DN50 | 1 | Dallan BYQ Technology | DC-E-50 DC24V 4-20mA | FLOW-DN50 | DC 24 V | Carbon Steel | In-stock | 950 | 1140 |  | 3500
Polymer Dosing Pump 110 l/h | 1 | Injecta | AT.BX4 - 110 l/h | POL-FP-110 |  |  | 4-6 Weeks | 300 | 360 |  | 720
Polymer Pump Diaphragm | 1 | Injecta | AT.BX4 - DIA | POL-DIA-165 |  |  | 4-6 Weeks | 50 | 60 |  | 120
Current as of 10/29/2024

## MD 201
Item Name (MD 201) | QTY (per screw) | Manufacturer | Mivalt Part Number | GDS Part Number | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Complete Ring Assembly** | 1 | Mivalt | 201-DW-BLOCK | RING-COM-201 | N/A | Stainless-Steel | 4-6 weeks | 15270 | 18324 | 27486 | 36648
Complete Ring Assembly (Reconditioned)** | 1 | Mivalt | 201-DW-BLOCK-RC | RING-COM-201RC | N/A | Stainless-Steel | 4-6 weeks |  | 0 | 0 | 0
Complete Ring Assembly w/replaceable tip screw | 1 | Mivalt |  | RING-COM-201RT | N/A | Stainless-Steel | 4-6 weeks |  | 11063 | 16594.5 | 22126
Screw Tungsten Carbide | 1 | Mivalt | 201-SCREW-SHAFT-TNGST | SCREW-TC-201 | N/A | Stainless-Steel | 4-6 weeks | 4960 | 5952 | 8928 | 11904
Screw Tungsten Carbide (replaceable tip) | 1 | Mivalt |  | SCREW-RT-201 | N/A | Stainless-Steel | 4-6 weeks | 4960 | 5952 | 8928 | 11904
Set of Rings (loose rings) | 1 SET | Mivalt | 201-MOVING-RINGS-SET | RING-SET-201 | N/A | Stainless-Steel | 4-6 weeks | 2860 | 3432 | 5148 | 6864
Replacable Tip Set (for screw auger) |  | Mivalt |  | SCREW-TIP-200 | N/A | Stainless-Steel | 4-6 weeks |  | 0 | 0 | 0
Bolt Allen M8 x 14 | 6 | Mivalt |  | BOLT-M8-14 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Bolt Allen M8 x 30 | 4 | Mivalt |  | BOLT-M8-30 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Fixed Ring 1.5mm | 151 | Mivalt | MOD/6122 | RING-FX-1.5 | N/A | Stainless-Steel | 2-3 weeks | 17 | 20.4 |  | 40.8
Fixed Ring 2.5mm (OL-02-002) | 127 | Mivalt | MOD/6121 | RING-FX-2.5 | N/A | Stainless-Steel | 2-3 weeks | 17 | 20.4 |  | 40.8
Flat Washer M12 | 8 | Mivalt |  | WASH-FL-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Flat Washer M8 | 10 | Mivalt |  | WASH-FL-M8 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Hexagonal Nut M12 | 8 | Mivalt |  | NUT-HX-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Hexagonal Nut M6 | 2 | Mivalt |  | NUT-HX-M6 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Loose Ring 1.5mm | 150 | Mivalt | MOD//6116 | RING-LS-1.5 | N/A | Stainless-Steel | 2-3 weeks | 12 | 14.4 |  | 28.8
Loose Ring 2.5mm |  | Mivalt | MOD/6115 | RING-LS-2.5 | N/A | Stainless-Steel | 2-3 weeks | 12 | 14.4 |  | 28.8
Loose Ring 2.5mm (OL-02-001) | 115 | Mivalt | POD/0019169 |  | N/A | Stainless-Steel | 2-3 weeks | 12 | 14.4 |  | 28.8
Pressure Plate | 1 | Mivalt |  | PLATE-PS-201 | N/A | Stainless-Steel | 2-3 weeks | 478 | 573.6 |  | 1147.2
Pressure Plate Spring | 1 | Mivalt | PRUZ-TALIR-201 | SPRING-PP-201 | N/A | Stainless-Steel | 2-3 weeks | 45 | 54 |  | 108
Self-Locking Hexagonal Nut M12 | 8 | Mivalt |  | NUT-SLHX-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Sensor Ring | 1 | Mivalt |  | SENS-RG-201 | N/A | Stainless-Steel | 2-3 weeks | 120 | 144 |  | 288
Spacer 1.75mm | 600 | Mivalt | MOD/13885 | SPACE-MD-1.75 | N/A | Stainless-Steel | 2-3 weeks | 2.5 | 3 |  | 6
Spacer 3mm | 460 | Mivalt | MOD/13884 | SPACE-MD-3 | N/A | Stainless-Steel | 2-3 weeks | 1.3 | 1.56 |  | 3.12
Spring Washer M12 | 8 | Mivalt |  | WASH-SPG-M12 | N/A | Stainless-Steel | 2-3 weeks | 1.3 | 1.56 |  | 3.12
Spring Washer M8 | 10 | Mivalt |  | WASH-SPG-M8 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Conical Pneumatic Pressure Plate | 1 | Mivalt |  | PLATE-CON-200 | N/A | Stainless-Steel | 2-3 weeks | 450 | 540 |  | 1080 | ????
** Complete Ring Assembly Includes: screw shaft, loose rings, fixed rings, spacers, guiding rods, lower bearing
Item Name (MD 201) | QTY (per press) | Manufacturer | Mivalt Part Number | GDS Part Number | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Ball Valve 2" DN50 | 1 | Mivalt | BALL VALVE SS, 2 part, DN50 | BV-SS-DN50 | N/A | Stainless-Steel | 3-4 weeks | 140 | 168 |  | 336
Handles for Cover Plates | 4 | Mivalt |  | HANDLE-PL-MD | N/A | Plastic | In-stock | 20 | 24 |  | 48
Mixing Blades | 3 | Mivalt | 201-MIXING-RING | MIX-BL-201 | N/A | Stainless-Steel | 4-6 weeks | 130 | 156 |  | 312
Mixing Gearbox | 1 | Motive | BOX050/40 | MIX-BOX-050 |  | Stainless-Steel | In-stock | 210 | 252 |  | 504
Mixing Motor | 1 | Motive | D71B4 - 0.37kW | MIX-MOT-D71 | .5 HP | Aluminum Alloy | In-stock | 195 | 234 |  | 468
Mixing Motor & Gearbox | 1 | Motive | BOX050/40+D71B4-0.37kW | MIX-GBM-050 | .5 HP | Aluminum Alloy | In-stock | 420 | 504 |  | 1008
Mixing Motor & Gearbox (class 1 Div II) | 1 | Motive |  | MIX-EXPGBM-050 | .5 HP | Aluminum Alloy | In-stock | 850 | 1020 |  | 2040
Mixing Shaft | 1 | Mivalt | 201-MIXING-SHAFT | MIX-SH-201 | N/A | Stainless-Steel | 4-6 weeks | 100 | 120 |  | 240
Overflow Handel | 1 | Mivalt |  | OVER-HD-201 | N/A | Stainless-Steel | 4-6 weeks | 20 | 24 |  | 48
Pipe Coupling (Fernco) | 1 | Flexseal | D110 | FERN-CO-110 | N/A | Rubber | In-stock | 38.5 | 46.2 |  | 92.4
Polymer Injector Assembly |  | Mivalt | MOD/21428 | NOZZ-POL-SS | N/A | Stainless-Steel | 4-6 weeks | 110 | 132 |  | 264
Polymer Spray Nozzle (SS 316 G 1/4" 6510) | 1 | Mivalt | MKO/0012737 | NOZZ-POL-MD | N/A | Stainless-Steel | 4-6 weeks | 14.5 | 17.4 |  | 34.8
Screw Cover Plate (Large) | 2 | Mivalt |  | COVER-LG-201 | N/A | Stainless-Steel | 4-6 weeks | 250 | 300 |  | 600
Screw Gearbox | 1 | SEW | FAF77 7.3RPM | GEAR-SEW-77 |  | Cast Iron | In-stock | 1870 | 2244 |  | 4488
Screw Gearbox Cap | 1 | SEW | CAP-FAF77 | CAP-SEW-77 | N/A | Plastic | In-stock | 10 | 12 |  | 24
Screw Motor | 1 | SEW | DRS71M4/TF-0.55Kw | MOT-SEW-DRS7 | .75 HP | Cast iron | 8-10 weeks | 350 | 420 |  | 840
Screw Gearbox & Motor | 1 | SEW |  | MOTG-SEW-DRS7 | .75 HP | Cast Iron | 8-10 weeks | 2020 | 2424 | 3636 | 4848
Screw Motor Fan | 1 | SEW | DRN80 | FAN-MT-DRN80 | N/A | Plastic | In-stock | 20 | 24 |  | 48
Screw Motor Fan Guard | 1 | SEW | DRN80 | FAN-GD-DRN80 | N/A | Plastic | In-stock | 20 | 24 |  | 48
Screw Shaft Dry Bearing (end cap) | 1 | Mivalt | LOZ_SILON_201 | BEAR-SS-300 | N/A | Polyamide | In-stock | 48 | 57.6 |  | 115.2
Screw Spray Nozzles | 2 | Mivalt |  | NOZZ-SPR-201 | N/A | Stainless-Steel | 4-6 Weeks | 10 | 12 |  | 24
Shaft Collar Clamp | 1 | Mivalt | PRITL_KR_PRUZ_201 | SHAFT-CC-300 | N/A | Stainless-Steel | In-stock | 38 | 45.6 |  | 91.2
Solenoid Valves N/C 1/2" | 2 | Mivalt | MP-W-160-15SN NC 24V DC | SOL-160-15SN | DC 24V | Stainless-Steel/Plastic | In-stock | 80 | 96 |  | 192
Solenoid Valve Plugs w/LED varistor | 2 | Mivalt | PLUG-MP-W-160-15SN | SOL-PLUG-160 | DC 24V | Stainless-Steel/Plastic | In-stock | 10 | 12 |  | 24
Solids Discharge Cover | 1 | Mivalt |  | COVER-SD-201 | N/A | Stainless-Steel | 4-6 Weeks | 40 | 48 |  | 96
Standpipe | 1 | Mivalt |  | STAN-PIPE-300 | N/A | Stainless-Steel | 4-6 weeks | 180 | 216 |  | 432
Optional Equipment:
Flowmeter DN50 | 1 | Dallan BYQ Technology | DC-E-50 DC24V 4-20mA | FLOW-DN50 | DC 24 V | Carbon Steel | In-Stock | 950 | 1140 |  | 3500
Polymer Dosing Pump 300 l/h | 1 | Injecta | TP15064C | POL-FP-300 |  |  | 4-6 weeks | 900 | 1080 |  | 2160
Polymer Pump Diaphragm | 1 | Injecta | No diaphragm in this pump | POL-DIA-165
Current as of 10/29/24

## MD 300
Item Name (MD 300 Series) | QTY Per Screw | Manufacturer | Mivalt Part Number | GDS Part No | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Complete Ring Assembly** | 1 | Mivalt | 30X-DW-BLOCK | RING-COM-300 | N/A | Stainless-Steel | 4-6 weeks | 21300 | 25560 | 38340 | 51120
Complete Ring Assembly (Reconditioned)** | 1 | Mivalt | 30X-DW-BLOCK-REC | RING-COM-300RC | N/A | Stainless-Steel | 4-6 weeks | 14000 | 16800 | 25200 | 33600
Complete Ring Assembly w/replaceable tip screw | 1 | Mivalt | POD/21322 | RING-COM-300RT | N/A | Stainless-Steel | 4-6 weeks |  | 0 | 0 | 0
Screw Tungsten Carbide | 1 | Mivalt | 301-SCREW-SHAFT-TNGST | SCREW-TC-300 | N/A | Stainless-Steel | 4-6 weeks | 7800 | 9360 | 14040 | 18720
Screw Tungsten Carbide (replaceable tip) | 1 | Mivalt |  | SCREW-RT-300 | N/A | Stainless-Steel | 4-6 weeks | 7800 | 9360 | 14040 | 18720
Set of Rings (loose rings) | SET | Mivalt | 301-MOVING-RINGS-SET | RING-SET-300 | N/A | Stainless-Steel | 4-6 weeks | 4050 | 4860 | 7290 | 9720
Replacable Tip Set (for screw auger) |  | Mivalt |  | SCREW-TIP-300 | N/A | Stainless-Steel | 4-6 weeks | 3500 | 4200 | 6300 | 8400
Bolt Allen M8 x 14 | 6 | Mivalt |  | BOLT-M8-14 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Bolt Allen M8 x 30 | 4 | Mivalt |  | BOLT-M8-30 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Bolt Allen M8 x 20 A2 (mounting gearbox) | 4 | Mivalt | MSP/20230 | BOLT-M8-20 | N/A | Stainless-Steel | 3-4 weeks | 0.5 | 0.6 |  | 1.2
Bolt Allen M8 x22 | 6 | Mivalt |  | BOLT-M8-22 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Fixed Ring 1.5mm | 158 | Mivalt |  | RING-3FX-1.5 | N/A | Stainless-Steel | 3-4 weeks | 17 | 20.4 |  | 40.8
Fixed Ring 2.5mm | 193 | Mivalt |  | RING-3FX-2.5 | N/A | Stainless-Steel | 3-4 weeks | 17 | 20.4 |  | 40.8
Flat Washer M12 | 24 | Mivalt |  | WASH-FL-M12 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Flat Washer M8 | 24 | Mivalt |  | WASH-FL-M8 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Hexagonal Nut M12 | 24 | Mivalt |  | NUT-HX-M12 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Hexagonal Nut M8 | 6 | Mivalt |  | NUT-HX-M8 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Loose Ring 1.5mm | 156 | Mivalt | MOD/6118 | RING-3LS-1.5 | N/A | Stainless-Steel | 3-4 weeks | 12 | 14.4 |  | 28.8
Loose Ring 2.5mm | 173 | Mivalt | MOD/6117 | RING-3LS-2.5 | N/A | Stainless-Steel | 3-4 weeks | 12 | 14.4 |  | 28.8
Shaft Bolt M16x60 DIN931 A2 (end bolt) | 1 | Mivalt | MSP/18962 | BOLT-M16-60 | N/A | Stainless-Steel | 2-3 weeks | 2 | 2.4 |  | 4.8
Shaft Bolt Spacer M16x60, DIN9021 | 1 | Mivalt | MSP/20199 | SPACE-M16-60 | N/A | Stainless-Steel | 2-3 weeks | 0.5 | 0.6 |  | 1.2
Shaft Bolt Washer M16, DIN127B, A2 | 1 | Mivalt | MSP/18927 | WASH-M16-A2 | N/A | Stainless-Steel | 2-3 weeks | 0.3 | 0.36 |  | 0.72
Shaft Bolt Lock Washer M16, DIN125, A2 | 1 | Mivalt | MSP/18920 | WASH-LOCK-M16 | N/A | Stainless-Steel | 2-3 weeks | 0.3 | 0.36 |  | 0.72
Pressure Plate | 1 | Mivalt |  | PLATE-PS-300 | N/A | Stainless-Steel | 3-4 weeks | 478 | 573.6 |  | 1147.2
Pressure Plate Spring | 1 | Mivalt | MOD/10700 | SPRING-PP-300 | N/A | Stainless-Steel | 3-4 weeks | 64 | 76.8 |  | 153.6
Snap Ring 50mm, DIN472, A2 | 1 | Mivalt | MSP/21224 | SNAP-RG-50MM | N/A | Stainless-Steel | 3-4 weeks | 2 | 2.4 |  | 4.8
Spacer 1.75mm | 936 | Mivalt | MOD/13887 | SPACE-3MD-1.75 | N/A | Stainless-Steel | 3-4 weeks | 2.5 | 3 |  | 6
Spacer 3mm | 1211 | Mivalt | MOD/13886 | SPACE-3MD-3 | N/A | Stainless-Steel | 3-4 weeks | 1.3 | 1.56 |  | 3.12
Spring Washer M12 | 26 | Mivalt |  | WASH-SPG-M12 | N/A | Stainless-Steel | 3-4 weeks | 1.3 | 1.56 |  | 3.12
Spring Washer M8 | 12 | Mivalt |  | WASH-SPG-M8 | N/A | Stainless-Steel | 3-4 weeks | 1 | 1.2 |  | 2.4
Conic Pneumatic Pressure Plate (option) | 1 | Mivalt |  | PLATE-CON-300 | N/A | Stainless-Steel | 3-4 weeks | 450 | 540 |  | 1080
** Complete Ring Assembly Includes: screw shaft, loose rings, fixed rings, spacers, guiding rods, lower bearing
Item Name (MD 300 Series) | QTY Per press | Manufacturer | Mivalt Part Number | GDS Part No | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Ball Valve 2" DN50 | 1 | Mivalt | BALL VALVE SS, 2 part, DN50 | BV-SS-DN50 | N/A | Stainless-Steel | 3-4 weeks | 140 | 168 |  | 336
Handles for Cover Plates | 4 | Mivalt |  | HANDLE-PL-MD | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Mixing Blades | 3 | Mivalt | 301-MIXING-RING | MIX-BL-300 | N/A | Stainless-Steel | 4-6 Weeks | 140 | 168 |  | 336
Mixing Gearbox | 1 | Motive | BOX050/40 | MIX-BOX-050 |  | Aluminum Alloy | In-Stock | 210 | 252 |  | 504
Mixing Gearbox & Motor | 1 | Motive | BOX050/40+D71B4 - 0.37kW | MIX-GBM-050 | .5HP | Aluminum Alloy | In-Stock | 420 | 504 |  | 1008
Mixing Motor | 1 | Motive | D71B4 - 0.37kW | MIX-MOT-D71 | .5HP | Aluminum Alloy | In-Stock | 210 | 252 |  | 504
Mixing Motor Dust Cap | 1 | Motive |  | MIX-CAP-D71 | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Mixing Shaft | 1 | Mivalt | 301-MIXING-SHAFT | MIX-SH-300 | N/A | Stainless-Steel | 4-6 Weeks | 100 | 120 |  | 240
Overflow Handel | 1 | Mivalt |  | OVER-HD-300 | N/A | Stainless-Steel | 4-6 Weeks | 20 | 24 |  | 48
Pipe Coupling (Fernco) | 1 | Flexseal | D165 | FERN-CO-165 | N/A | Rubber | In-Stock | 49.5 | 59.4 |  | 118.8
Polymer Injector Assembly |  | Mivalt | MOD/21428 | NOZZ-POL-SS | N/A | Stainless-Steel | 4-6 weeks | 110 | 132 |  | 264
Polymer Spray Nozzle (SS 316 G 1/4" 6510) | 1 | Mivalt | MKO/0012737 | NOZZ-POL-MD | N/A | Stainless-Steel | 4-6 weeks | 14.5 | 17.4 |  | 34.8
Screw Cover Plate (Large) | 2 | Mivalt |  | COVER-LG-300 | N/A | Stainless-Steel | 4-6 Weeks | 250 | 300 |  | 600
Screw Cover Plate (Small) | 2 | Mivalt |  | COVER-SM-300 | N/A | Stainless-Steel | 4-6 Weeks | 180 | 216 |  | 432
Screw Gearbox | 1-3 | SEW Eurodrive | FAF77 7.2RPM | SEW-BOX-F77 |  | Cast-Iron | In-Stock | 2120 | 2544 |  | 5088
Screw Gearbox & Motor | 1-3 | SEW Eurodrive | DRN80M4/TF-0.75Kw+FAF77 7.2RPM | SEW-GBM-DRN80 | .75HP | Cast-Iron | In-Stock | 2665 | 3198 | 4797 | 6396
Screw Gearbox Cap | 1-3 | SEW Eurodrive | CAP-FAF77 | SEW-CAP-F77 | N/A | Plastic | In-Stock | 10 | 12 |  | 24
Screw Motor | 1-3 | SEW Eurodrive | DRN80M4/TF-0.75Kw | SEW-MOT-DRN80 | .75HP | Cast-Iron | In-Stock | 545 | 654 |  | 1308
Screw Motor Fan | 1-3 | SEW Eurodrive | DRN80 | FAN-MT-DRN80 | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Screw Motor Fan Guard | 1-3 | SEW Eurodrive | DRN80 | FAN-GD-DRN80 | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Screw Shaft Key, 14x9x140mm, DIN6885A A4 | 1 | SEW Eurodrive | MSP/20296 | SEW-KEY-300 | N/A | Stainless-Steel | 10-12 weeks | 28 | 33.6 |  | 67.2
Screw Shaft Dry Bearing (end cap) | 1-3 | Mivalt | LOZ_SILON_301 | BEAR-SS-300 | N/A | Polyamide | In-Stock | 58 | 69.6 |  | 139.2
Screw Spray Nozzles | 2-6 | Mivalt |  | NOZZ-SPR-300 | N/A | Stainless-Steel | 4-6 Weeks | 10 | 12 |  | 24
Shaft Collar Clamp | 1-3 | Mivalt | MOD/18783 | SHAFT-CC-300 | N/A | Stainless-Steel | In-Stock | 28 | 33.6 |  | 67.2
Solenoid Valve NC 1/2" (MD 301) | 2 | Mivalt | MP-W-160-15SN NC 24V DC | SOL-160-15SN | 24V DC | Stainless-Steel/Plastic | In-Stock | 80 | 96 |  | 192
Solenoid Valve NC 3/4" (MD 302/303) | 2-6 | Mivalt | MP-W-200-20SN NC 24V DC | SOL-200-20SN | 24V DC | Stainless-Steel/Plastic | In-Stock | 85 | 102 |  | 204
Solenoid Valve Plugs | 2-6 | Mivalt | PLUG-MP-W-160-15SN | SOL-PLUG-160 | N/A | Stainless-Steel/Plastic | In-Stock | 10 | 12 |  | 24
Solids Discharge Cover | 1-3 | Mivalt |  | COVER-SD-300 | N/A | Stainless-Steel | 4-6 Weeks | 40 | 48 |  | 96
Standpipe | 1 | Mivalt |  | STAN-PIPE-300 | N/A | Stainless-Steel | 4-6 Weeks | 180 | 216 |  | 432
Optional:
Flowmeter DN50 |  | Dallan BYQ Technology | DC-E-50 DC24V 4-20mA | FLOW-DN50 | 24V DC | Carbon Steel | In-Stock | 950 | 1140 |  | 3500
Polymer Dosing Pump 500 l/h |  | Injecta | TM216578 | POL-FP-500 | .5 HP | PVC Head | 4-6 Weeks | 900 | 1080 |  | 2160
Polymer Pump Diaphragm |  | Injecta | TM-165-DIAPH | POL-DIA-165 |  |  | 4-6 Weeks | 105 | 126 |  | 252
Rebuild Kit for Dosing Pump | Mivalt | Injecta | TM2165787_VALVES_DIA | DOS-REB-KIT | PVC | MD 200/300 Series | 2-3 Weeks | 250 | 300 |  | 600
Current as of 10/29/24

## MD 400
Item Name (MD 400 Series) | QTY (Per Screw) | Manufacturer | Mivalt Part Number | GDS Part Number | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Complete Ring Assembly** | 1 | Mivalt | 40X_DW_BLOCK | RING-COM-400 | N/A | Stainless-Steel | 4-6 weeks | 29500 | 35400 | 53100 | 70800
Complete Ring Assembly (Reconditioned)** | 1 | Mivalt | 40X-DW-BLOCK-REC | RING-COM-400RC | N/A | Stainless-Steel | 4-6 weeks | 19600 | 23520 | 35280 | 47040
Complete Ring Assembly (replaceable tip screw) | 1 | Mivalt |  | RING-COM-400RT | N/A | Stainless-Steel | 4-6 weeks |  | 0 | 0 | 0
Screw Tungsten Carbide | 1 | Mivalt | 401-SCREW-SHAFT-TNGST | SCREW-TC-400 | N/A | Stainless-Steel | 4-6 weeks | 10400 | 12480 | 18720 | 24960
Screw Tungsten Carbide (replaceable tip) | 1 | Mivalt |  | SCREW-RT-400 | N/A | Stainless-Steel | 4-6 weeks | 10400 | 12480 | 18720 | 24960
Set of Rings (loose rings) | 1 | Mivalt | 401-MOVING-RINGS-SET | RING-SET-400 | N/A | Stainless-Steel | 4-6 weeks | 6700 | 8040 | 12060 | 16080
Replacable Tip Set (for screw auger) |  | Mivalt |  | SCREW-TIP-400 | N/A | Stainless-Steel | 4-6 weeks | 4500 | 5400 | 8100 | 10800
Bolt Allen M8 x 14 | 6 | Mivalt | Bolt Allen M8 x 14 | BOLT-M8-14 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Bolt Allen M8 x 22 | 6 | Mivalt | Bolt Allen M8 x 22 | BOLT-M8-22 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Bolt Allen M8 x 30 | 4 | Mivalt | Bolt Allen M8 x 30 | BOLT-M8-30 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Bolt M16x65 DIN933 (mounting gearbox to mountng plate) - 4 pc | 5 | Mivalt | MSP/20751 | BOLT-M16-65 | N/A | Stainless-Steel | 2-3 weeks | 2.5 | 3 |  | 6
Fixed Ring 2.5mm (OL-04-02) | 342 | Mivalt | POD/0020045 | RING-4FX-2.5 | N/A | Stainless-Steel | 2-3 weeks | 16 | 19.2 |  | 38.4
Flat Washer M12 | 8 | Mivalt | Flat Washer M12 | WASH-FL-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Flat Washer M8 | 12 | Mivalt | Flat Washer M8 | WASH-FL-M8 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Hexagonal Nut M12 | 8 | Mivalt | Hexagonal Nut M12 | NUT-HX-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Hexagonal Nut M8 | 6 | Mivalt | Hexagonal Nut M8 | NUT-HX-M8 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Loose Ring 2.5mm | 325 | Mivalt | Loose Ring 2.5mm | RING-4LS-2.5 | N/A | Stainless-Steel | 2-3 weeks | 16 | 19.2 |  | 38.4
Pressure Plate (Standard) | 1 | Mivalt | Pressure Plate | PLATE-PS-400 | N/A | Stainless-Steel | 2-3 weeks | 485 | 582 |  | 1164
Pressure Plate (Conical Option) | 1 | Mivalt | Conical Pressure Plate (T-156) | PLATE-CON-400 | N/A | Stainless-Steel | 4-6 weeks | 800 | 960 |  | 1920
Pressure Plate System (Pnuematic Option) | 1 | Mivalt | Pneumatic Pressure Plate System | PLATE-PNU-400 | N/A | Stainless-Steel | 4-6 weeks | 2900 | 3480 | 5220 | 6960
Pressure Plate Spring (400mm) | 1 | Mivalt | MOD/11052 | SPRING-PP-400 | N/A | Stainless-Steel | 2-3 weeks | 50 | 60 |  | 120
Shaft Bolt M24x80 DIN931 A4 | 1 | Mivalt | MSP/20532 | BOLT-M24-80 | N/A | Stainless-Steel | 2-3 weeks | 9.2 | 11.04 |  | 22.08
Shaft Bolt Washer M24 | 1 | Mivalt | MSP/20377 | WASH-M24-80 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Shaft Bolt Washer M24 T-OL-4-1 | 1 | Mivalt | MOD/16263 | WASH-LOCK-M24 | N/A | Stainless-Steel | 2-3 weeks | 8 | 9.6 |  | 19.2
Self-Locking Hexagonal Nut M12 | 8 | Mivalt | Self-Locking Hexagonal Nut M12 | NUT-SLHX-M12 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Sensor Ring | 1 | Mivalt | Sensor Ring | SENS-RG-400 | N/A | Stainless-Steel | 2-3 weeks | 120 | 144 |  | 288
Snap Ring 60mm DIN472, A2 | 1 | Mivalt | MSP/21225 | SNAP-RG-60MM |  | Stainless-Steel | 2-3 weeks | 2 | 2.4 |  | 4.8
Spacer 2.85mm | 1248 | Mivalt | MOD/0013889 | SPACE-4MD-2.85 | N/A | Stainless-Steel | 2-3 weeks | 6.8 | 8.16 |  | 16.32
Spacer 3.1mm | 672 | Mivalt | 40X_SPACER_3.1mm | SPACE-4MD-3.1 | N/A | Stainless-Steel | 2-3 weeks | 6.8 | 8.16 |  | 16.32
Spacer 3mm | 680 | Mivalt | Spacer 3mm | SPACE-4MD-3.1 | N/A | Stainless-Steel | 2-3 weeks | 2 | 2.4 |  | 4.8
Spring Washer M12 | 8 | Mivalt | Spring Washer M12 | WASH-SPG-M12 | N/A | Stainless-Steel | 2-3 weeks | 1.3 | 1.56 |  | 3.12
Spring Washer M8 | 12 | Mivalt | Spring Washer M8 | WASH-SPG-M8 | N/A | Stainless-Steel | 2-3 weeks | 1 | 1.2 |  | 2.4
Gearbox Side Support Box (OL-04-037_C) | 1 | Mivalt | MOD/0021186 | BOX-GB-400 | N/A | Stainless-Steel | 4-6 weeks | 540 | 648 |  | 1296
Gearbox Mounting Plate (OL-04-061) | 1 | Mivalt | MOD/0021187 | PLATE-GB-400 | N/A | Stainless-Steel | 4-6 weeks | 135 | 162 |  | 324
** Complete Ring Assembly Includes: screw shaft, loose rings, fixed rings, spacers, guiding rods, lower bearing
Item Name (MD 400 Series) | QTY (Per Press) | Manufacturer | Mivalt Part Number | GDS Part Number | Power | Material | Lead Time | Cost (Euro) | Cost USD | Customer 50% | Customer 100%
Ball Valve 2.5", DN65 | 1 | Mivalt | BALL VALVE SS, 3-part, DN65 | BV-SS-DN65 | N/A | Stainless-Steel | In-Stock | 211 | 253.2 |  | 506.4
Handles for Cover Plates | 4 | Mivalt |  | HANDLE-PL-MD | N/A | Plastic | In-Stock | 20 | 24 |  | 48
Mixing Blades (set of all 3 ) | 3 | Mivalt | 401-MIXING-BLADES | MIX-BL-400 | N/A | Stainless-Steel | 3-4 weeks | 270 | 324 |  | 648
Mixing Blades (straight centrifugal blade) | 1 | Mivalt | MOD/10414 | MIX-CEBL-400 | N/A | Stainless-Steel | 3-4 weeks | 90 | 108 |  | 216
Mixing Blades (T-grid) | 2 | Mivalt |  | MIX-TGBL-400 | N/A | Stainless-Steel | 3-4 weeks | 90 | 108 |  | 216
Mixing Gearbox & Motor (MD 401/402) | 1 | Motive | BOX050/40+D71B4 - 0.37kW | MIX-GBM-050 | .5 HP | Aluminum Alloy | 3-4 weeks | 420 | 504 |  | 1008
Mixing Gearbox (MD 401/402) | 1 | Motive | BOX050/40 | MIX-BOX-050 |  | Aluminum Alloy | In-Stock | 210 | 252 |  | 504
Mixing Motor (MD 401/402) | 1 | Motive | D71B4 - 0.37kW | MIX-MOT-D71 | .5 HP | Aluminum Alloy | 3-4 weeks | 210 | 252 |  | 504
Mixing Gearbox & Motor (MD 403) | 1 | Motive | BOX063/50+D80A-4-0.55kW | MIX-GBM-063 | .75 HP | Aluminum Alloy | 3-4 weeks | 521 | 625.2 |  | 1250.4
Mixing Gearbox (MD 403) | 1 | Motive | BOX063/50 | MIX-BOX-063 |  | Aluminum Alloy | 3-4 weeks | 265 | 318 |  | 636
Mixing Motor (MD 403) | 1 | Motive | D80A-4-0.55kW | MIX-MOT-D80 | .75 HP | Aluminum Alloy | 3-4 weeks | 256 | 307.2 |  | 614.4
Mixing Shaft | 1 | Mivalt | MOD/21719 | MIX-SH-400 | N/A | Stainless-Steel | In-Stock | 125 | 150 |  | 300
Overflow Handel (Wier) | 1 | Mivalt |  | OVER-HD-400 | N/A | Stainless-Steel | 3-4 weeks | 50 | 60 |  | 120
Pipe Coupling (Fernco) | 1 | Flexseal | D165 | FERN-CO-165 | N/A | Rubber | In-Stock | 49.5 | 59.4 |  | 118.8
Polymer Injector Assembly |  | Mivalt | MOD/21428 | NOZZ-POL-SS | N/A | Stainless-Steel | 4-6 weeks | 110 | 132 |  | 264
Polymer Spray Nozzle (SS 316 G 1/4" 6510) | 1 | Mivalt | MKO/0012737 | NOZZ-POL-MD | N/A | Stainless-Steel | 4-6 weeks | 14.5 | 17.4 |  | 34.8
Screw Cover Plate (Large) | 2 | Mivalt |  | COVER-LG-400 | N/A | Stainless-Steel | 3-4 weeks | 370 | 444 |  | 888
Screw Cover Plate (Small) | 2 | Mivalt |  | COVER-SM-400 | N/A | Stainless-Steel | 3-4 weeks | 250 | 300 |  | 600
Screw Gearbox | 1 | SEW Eurodrive | FAF87 R57 6.9RPM | SEW-BOX-F87 |  | Cast-Iron | In-Stock | 2245 | 2694 | 4041 | 5388
Screw Gearbox & Motor (standard) | 1 | SEW Eurodrive | DRN90L4/TF-1.5kW+FAF87 RF57 6.9RPM | SEW-GBM-DRN90 | 2 HP | Cast-Iron | 2-3 weeks | 2900 | 3480 | 5220 | 6960
Screw Gearbox & Motor (w/stainless collar) | 1 | SEW Eurodrive |  | SEW-SSGBM-DRN90 | 2 HP |  | 8-10 weeks | 3190 | 3828 | 5742 | 7656
Screw Gearbox & Motor (IP65) | 1 | SEW Eurodrive |  | SEW-GBM-IP65 | 2 HP | Cast-Iron | 2-3 weeks | 3500 | 4200 | 6300 | 8400
Screw Gearbox Cap | 1 | SEW Eurodrive | CAP-FAF87 | SEW-CAP-F87 | N/A | Plastic | In-Stock | 24 | 28.8 |  | 57.6
Screw Motor | 1 | SEW Eurodrive | DRN90L4/TF-1.5kW | SEW-MOT-DRN90 | 2 HP | Cast-Iron | In-Stock | 655 | 786 |  | 1572
Screw Motor Fan | 1 | SEW Eurodrive | DRN90 | FAN-MT-DRN90 | N/A | Plastic | In-Stock | 25 | 30 |  | 60
Screw Motor Fan Guard | 1 | SEW Eurodrive | DRN90 | FAN-GD-DRN90 | N/A | Plastic | 4-6 weeks | 25 | 30 |  | 60
Screw Shaft Dry Bearing (end cap) | 1 | Mivalt | LOZ_SILON_401 | BEAR-SS-400 | N/A | Polyamide | In-Stock | 68 | 81.6 |  | 163.2
Screw Spray Nozzles | 6 | Mivalt |  | NOZZ-SPR-400 | N/A | Stainless-Steel | In-Stock | 10 | 12 |  | 24
Screw Shaft Key 18x11x150mm | 1 | SEW Eurodrive | MOS/20372 | SEW-KEY-400 | N/A | Stainless-Steel | 10-12 weeks | 40 | 48 |  | 96
Shaft Collar Clamp 60mm | 1 | Mivalt | MKO/20114 | SHAFT-CC-400 | N/A | Stainless-Steel | 2-3 weeks | 115 | 138 |  | 276
Gearbox & Motor Collar | 1 | Mivalt | MKO/05420 | SHAFT-COL-TR60 | N/A | Steel | 2-3 weeks | 2 | 2.4 |  | 4.8
Silon Bushing Set (T-174-01-04) | 1 | Mivalt | T-174-01-04 | BUSH-SIL-T174 | N/A | Polymide | 2-3 Weeks | 225 | 270 |  | 540
Solenoid Valve Plugs | 2-6 | Mivalt | PLUG-MP-W-160-15SN | SOL-PLUG-160 | DC 24V | Stainless-Steel | In-Stock | 10 | 12 |  | 24
Solenoid Valves NC 3/4" | 2-6 | Mivalt | MP-W-200-20SN NC | SOL-200-20SN | DC 24V | Stainless-Steel | In-Stock | 85 | 102 |  | 204
Solids Discharge Cover | 1 | Mivalt |  | COVER-SD-400 | N/A | Stainless-Steel | 4-6 weeks | 50 | 60 |  | 120
Spray Valve | 1 | Mivalt | MP-720 | SPRAY-VAL-400 | N/A | Stainless-Steel | 2-3 weeks | 40 | 48 |  | 96
Standpipe | 1 | Mivalt |  | STAN-PIPE-400 | N/A | Stainless-Steel | 4-6 weeks | 180 | 216 |  | 432
Optional Equipment:
Flowmeter DN50 (MD 401) |  | Dallan BYQ Technology | DC-E-50 DC24V 4-20mA | FLOW-DN50 | 24V DC | Carbon Steel | In-Stock | 950 | 1140 |  | 3500
Flowmeter DN80 (MD402/403) | 1 | Dallan BYQ Technology | DC-E-80 DC24V 4-20mA | FLOW-DN80 | 24 V DC | Carbon Steel | In-Stock | 950 | 1140 |  | 3500
Polymer Dosing Pump 500 l/h | 1 | Mivalt | TM216578 | POL-FP-500 |  |  | 4-6 Weeks | 900 | 1080 |  | 2160
Polymer Pump Diaphragm | 1 | Mivalt | TM-165-DIAPH | POL-DIA-165 |  |  | 4-6 Weeks | 105 | 126 |  | 252
Current as of 10/29/24

## Parts Non-Mivalt
Item/Part Name | Store | Manufacturer | Store Part Number | GDS Part Number | Power | Lead Time | MD Press Series | Cost (Euros) | Cost USD | Customer 50% | Customer 100% | Customer 35%
Thermal Sensor Temperature Stator | Netzsch | Omron |  |  | 24v | 2-3 weeks |  |  | 411 |  | 822
Thermal Sensor PT-100 | Netzsch | Omron | 5184544 | 5184544 | 24v | 2-3 weeks |  |  | 156.34 |  | 312.68
Mixing Motor Plug | Grainger | Grainger |  | MXM-PLUG |  |  |  |  | 7 |  | 14
0
Booster Pump VFD-35 | Hung Pump Industrial | Hung Pump Industrial |  | BOOST-VFD35 | 1.5 HP |  |  | 670 | 804 |  | 1608 | 1061
Auxilliary Dosing Pump (12 GPM) | Mivalt | Injecta | Athena AM 4 | PUMP-ATH-AM4 | 230 VAC | 6-8 weeks |  | 360 | 432 |  | 864
Mixing Pump |  |  |  | MD-PUMP | [6 empty] | 0
Forklift Dumpster/hopper | Grainger | Grainger |  | DUMP-GRA-ST | N/A | 2-3 weeks |  |  | 1817 |  | 3634 | (price varies)
Forklift Dumpster/hopper | Zoro/Other | Zoro |  | DUMP-HOP-ST | N/A |  |  |  | 1567 |  | 3134 | (price varies)
4" Electric Actuated Ball Valves | Valworx | Valworx | 565455A | VAL-BV-455A | 24 DC | 3-4 weeks |  | order 1-2 | 1453.6 | 2180.4 | 2907.2
4" Electric Actuated Ball Valves | Valworx | Valworx | 565455A | VAL-BV-455A | 24 DC | 3-4 weeks |  | order 3+ | 1308.24 | 1962.36 | 2616.48
1/2" NPT Conduit Adaptor | Valworx | Valworx | 561890 | VAL-ADA-890 |  |  |  |  | 9.6 | 14.4 | 19.2
Nitra Solenoid Valve, 5 port (4-way, 2 position) 1/4 FNPT | Automation Direct | Nitra | AVS-5312-24D | SOL-VAL-5312 | 24 DC | 5-10 Days |  |  | 48 | 72 | 96
VFD 3x400V .75 kW | Marshall Wolf | Invertek | ODE-3-140022-3F12 | VFD-HV022-1HP | 1 HP | 2-3 weeks |  |  | 246 | 369 | 492
VFD 3x400V 1.5 kW | Marshall Wolf | Invertek | ODE-3-140041-3F12 | VFD-HV041-2HP | 2 HP | 2-3 weeks |  |  | 268 | 402 | 536
VFD 3x400V 2.2 kW | Marshall Wolf | Invertek | ODE-3-240058-3F42 | VFD-HV058-3HP | 3 HP | 2-3 weeks |  |  | 463 | 694.5 | 926
VFD 3x400V 9.3 kW | Marshall Wolf | Invertek | ODE-3-340140-3F42 | VFD-HV140-7.5HP | 7.5 HP, 14A | 2-3 weeks |  |  | 550 | 825 | 1100
VFD 1x240V 2.3A | Marshall Wolf | Invertek | ODE-3-120023-1F12 | VFD-LV023-.5HP | .5 HP | 1-2 weeks |  |  | 175 | 262.5 | 350
VFD 1x240V 4.3A | Marshall Wolf | Invertek | ODE-3-120043-1F12 | VFD-LV043-1HP | 1 HP | 1-2 weeks |  |  | 202 | 303 | 404
VFD 1x240V 15.3A | Marshall Wolf | Invertek | ODE-3-320153-1042 | VFD-LV153-5HP | 5 HP | 1-2 weeks |  |  | 582 | 873 | 1164
VFD 3x240V .75kW | Marshall Wolf | Invertek | ODE-3-120043-3012 | VFD-LV043-1HP | 1 HP, 4.3A | 1-2 weeks |  |  | 244 | 366 | 488
VFD 200-240V 1.5kW (Single Phase Input/3 Phase Output) | Marshall Wolf | Invertek | ODE-3-120070-1F12 | VFD-LV070-2HP | 2 HP, 7A | 1-2 weeks |  |  | 308 | 462 | 616
VFD 3x240V 4kW | Marshall Wolf | Invertek | ODE-3-320180-3F42 | VFD-LV180-5HP | 5 HP, 18A | 1-2 weeks |  |  | 409 | 613.5 | 818
VFD Enclosure (size will vary) | Marshall Wolf | Invertek/Saginaw | (size will vary) | VFD-ENCL-SS | N/A | 1-2 weeks
VFD Keypad | Marshall Wolf | Invertek | OPT-3-OPPAD-IN | VFD-PAD-OPT3 |  | 1-2 weeks |  |  | 138 | 207 | 276
VFD Enclosure w/Keypad & VFD | Marshall Wolf | Saginaw/Invertek | (VFD & size will vary) | VFD-ENCL-COM |  | 1-4 weeks
Ethernet Port (Communication Module) | Marshall Wolf | Invertek | OPT-2-ETHEG-IN | ETH-INV-OPT2 |  |  |  |  | 180 | 270
2" Shaft Collar Clamp (2 pc) | Zoro/Other | Climax Metal Products | 2C-200-S / G7084165 | SHAFT-CC-ZO300 | N/A | 1-2 weeks | MD 300 |  | 69.75 | 104.625 | 139.5
2 3/8" Shaft Collar Clamp (2pc) | Zoro/Other | Climax Metal Products | 2C-237-S / G7134391 | SHAFT-CC-ZO400 | N/A | 1-2 weeks | MD 400 |  | 94.55 | 141.825 | 189.1
0
SEW Gearbox Removal Tool |  | GDS |  | TOOL-GB-400FB | N/A | 5-10 days |  |  | 150 |  | 300
SEW Gearbox Removal Tool |  | GDS |  | TOOL-GB-300FB | N/A | 5-10 days |  |  | 150 |  | 300
SEW Gearbox Removal Tool |  | GDS |  | TOOL-GB-200FB | N/A | 5-10 days |  |  | 150 |  | 300
Screw Assembly Rails (Aron built) |  | GDS |  | RAIL-SL-400FB | N/A | 3-5 days | MD 400 |  | 200 |  | 400
Stainless-Steel Stand |  | GDS |  | STAND-SS-FB
Oil For Gearboxes
SEW Gearbox |  | Shell | Mineral Gear Oil CLP 220 | GDS-S2- SEW | N/A | In-Stock | MD 131 |  |  |  | 110 | $1300- 55 gallon drum
SEW Gearbox |  | Shell | Mineral Gear Oil CLP 220 | GDS-S2- SEW | N/A | In-Stock | MD 201/MD 300 |  |  |  | 110
SEW Gearbox |  | Shell | Mineral Gear Oil CLP 220 | GDS-S2- SEW | N/A | In-Stock | MD 400 |  |  |  | 110
Motives Gearbox 050 |  | Shell | Synthetic Gear Oil ISO VG320 | GDS-S4-MIX | N/A | In-Stock | MD 131-MD 303 |  |  |  | 85 | $300 - 5 gallon pail
Motives Gearbox 063 |  | Shell | Synthetic Gear Oil ISO VG320 | GDS-S4-MIX | N/A | In-Stock | MD 401-MD 403 |  |  |  | 85
Current as of 10/29/24

## Polymer Unit Parts
Item/Part Name | Manufacturer | Manufacturer Part # | GDS Part Number | Power | Lead Time | System Series | Cost (Euros) | GDS Cost USD | Customer 35% | Customer 50% | Customer 80% | Customer 100%
Mivalt Polymer Units
KSP-1500 | Mivalt | VST/21554 | POLY-KSP-1500 |  |  |  | 6500 | 7800 | 10530 | 11700 | 14430
KSP-4000 | Mivalt |  | POLY-KSP-4000
Excell Feeders
6PSEVO-400 | Excell | 6PSEVO-400 | 6PSEVO-400 | 3A | 8 weeks |  |  | 8060.4 | 10881.54 | 12090.6
6PSEVO-1200 | Excell | 6PSEVO-1200 | 6PSEVO-1200 | 5A | 8 weeks |  |  | 8186.8 | 11052.18 | 12280.2
Extended Legs Kit | Excell | 6EVO-LEGS | 6EVO-LEGS | N/A | 8 weeks |  |  | 497.48 | 671.598 | 746.22
3-Way Ball Valve, T-Port, 1/2" NPT, PVC | Excell | IPE-TKDTBV103 | IPE-TKDTBV103 | N/A | 3-5 days | 6PSEVO-400 |  | 152.1 | 205.335 | 228.15
Three-way Valve, 1/2" NPT | Excell | IPX-253856 | IPX-253856 | N/A | 3-5 days | 6PSEVO-400 |  | 212 | 286.2 | 318
Flowmeter, 150GPH, Brass w/ Valve | Excell | 0018-BR-150 | 0018-BR-150 | N/A | 3-5 days | 6043BPSA2-SX |  | 409.2 | 552.42 | 613.8
Pumphead, Qdos Renu 20 PURFPE w/tube (4bar) | Excell | WMP-OM3.1500.PFP | WMP-OM3.1500.PFP | N/A | 7-10 days | 6PSEVO-400 |  | 332.43 | 448.7805 | 498.645
Flowmeter, Magmeter, ½ NPT, 6.6GPM | Watson Marlowe | IFM-SM6601 | IFM-SM6601 | N/A | 3-5 days | 6PSEVO-400 |  | 904.32 | 1220.832 | 1356.48
Sight Tube Wiper, Short | Excell | EXL-6020-A2 | EXL-6020-A2 | N/A | 3-5 days | 6PSEVO-400 |  | 131.08 | 176.958 | 196.62
Sight Tube, Clear, Short | Excell | EXL-6006-C0 | EXL-6006-C0 | N/A | 3-5 days | 6PSEVO-400 |  | 126.2 | 170.37 | 189.3
Motorized Ball Valve, 1/2" NPT, SS, w/ M12 Connector | Excell | USS-JFMSV00007 | USS-JFMSV00007 |  | 3-5 days | 6PSEVO-400 |  | 164.01 | 221.4135 | 246.015
Blue-White Pumps
A2 Flexflo Peristaltic Metering Pump | Blue White | A2V24-MNGG | A2V24-MNGG | 120VAC, 1-phase |  |  |  | 2210.15 |  |  |  | 4420.3
M1 Flexflo Peristaltic Metering Pump (7/16" OD, .003 – 5.60 GPH) | Blue White | A1V4-3T | A1V4-3T | 120VAC, 1-phase |  |  |  | 1424.25 |  |  |  | 2848.5
M1 Flexflo Peristaltic Metering Pump (1/4" OD, .001 - 0.44 GPH) | Blue White | A1V4-4T | A1V4-4T | 120VAC, 1-phase |  |  |  | 1425.25 |  |  |  | 2850.5
A2 Peristaltic Metering Pump | Blue White | A2V24-MNGG | A2V24-EX-MNGG | 120VAC, 1-phase | 12-15 days | Excell 6150 |  | 2210.15 |  |  |  | 4420.3
Flexaprene Tubes | Blue White | A2-MNGG-T | A2-MNGG-T | N/A |  |  |  | 59.25 |  |  |  | 118.5
1T Peristaltic Tube Assembly | Blue White | A1-1T Tube (flex-a-thane) | A1-1T | N/A |  |  |  | 38.59 |  |  |  | 77.18
2T Peristaltic Tube Assembly | Blue White | A1-2T Tube (flex-a-thane) | A1-2T | N/A |  |  |  | 38.59 |  |  |  | 77.18
3T Peristaltic Tube Assembly | Blue White | A1-3T Tube (flex-a-thane) | A1-3T | N/A |  |  |  | 38.59 |  |  |  | 77.18
4T Peristaltic Tube Assembly | Blue White | A-100N-4T Tube (flex-a-thane) | A1-4T | N/A |  |  |  | 39.74 |  |  |  | 79.48
Pump Head/HD A-100N Assy w/sensors | Blue White | 71000-488 | 71000-488 | N/A | 2-3 days |  |  | 115.18 |  |  |  | 230
AL2 Polymer Feed System
AL2 Polymer Feed System | Teknik | AL2 Type 1 | POLY-AL2-TEK1 | 1A |  |  | 9500 | 11400 | 15390 | 17100
Dosing Hose set PUR 5mm w/connector fittings | Teknik | 930024 | POLY-AL2-5TUBE | N/A |  |  | 57 | 68.4 | 92.34 | 102.6
Dosing Hose set PUR 8mm w/connector fittings | Teknik | 930025 | POLY-AL2-8TUBE | N/A |  |  | 61 | 73.2 | 98.82 | 109.8
POM Push-in Check Valve 10mm (2pc) | Teknik | 680004 | POLY-AL2-CV10 | N/A |  |  | 32.5 | 39 | 52.65 | 58.5
Grundfos Shaft Seal | Grundfos | 800021 | POLY-AL2-SEAL | N/A |  |  | 105.41 | 126.492 | 170.7642 | 189.738
Grundfos MGE/CME Motor for Mixer (98488121) | Grundfos | 800020 | POLY-MOT-MIX121 |  |  |  | 1108.11 | 1329.732 | 1795.1382 | 1994.598
X-Ring NBR SH70 145.42 x 5.33 mm (2pc) | Teknik | 740020 | POLY-AL2-RING | N/A |  |  | 11.5 | 13.8 | 18.63 | 20.7
Injector polymer G1/2" x 10 mm w/90 angle push-in | Teknik | 930030 | POLY-AL2-INJ90 | N/A |  |  | 25 | 30 | 40.5 | 45
Tube PE 10/8 mm (10 meter) | Teknik | 720007 | POLY-AL2-10TUBE | N/A |  |  | 15 | 18 | 24.3 | 27
Unitronics PLC V350-J-TA24 | Teknik | 820056 | POLY-AL2-PLC | N/A |  |  | 1400 | 1680 | 2268 | 2520
Motor for Grundfos MGE (99279490) | Grundfos | 800019 | POLY-MOT-MGE490 |  |  |  | 824.32 | 989.184 | 1335.3984 | 1483.776
Rotor for WM Dosing Pump | Watson Marlowe | 810036 | POLY-WM-ROT36 |  |  |  | 648.65 | 778.38 | 1050.813 | 1167.57
Housing for WM Dosing Pump | Watson Marlowe | 810084 | POLY-WM-HOU84 |  |  |  | 702.7 | 843.24 | 1138.374 | 1264.86
IFM SM6050 Magnetic Flowmeter G1/2" 1,5 m3/h | Teknik | 820022 | POLY-FLOW-6050 |  |  |  | 567.57 | 681.084 | 919.4634 | 1021.626
Belimo R2015-1P6-S1 reg. valve G1/2" | Belimo | 820063 | POLY-BEL-VAL1P6 |  |  |  | 114.86 | 137.832 | 186.0732 | 206.748
Belimo TRF24-SR, modulating, NC, spring-return | Belimo | 820062 | POLY-BEL-SPR24 |  |  |  | 391.89 | 470.268 | 634.8618 | 705.402
ProMinent Fluid Controls
ProMix SG 120x2 | Prominent | 1048349 | 1048349 | 230V, 1-Ph, 6A | 6-8 weeks |  |  | 9013 | 12167.55
ProMix SG 300x2 | Prominent | 1048352 | 1048352 | 230V, 1-Ph, 6A | 6-8 weeks |  |  | 10000 | 13500
Spare Parts Set 0565 VPT (for ProMix-SG-120X2) (Includes hose assembly, tubing connectors, and hose grease) | Prominent | 1117457 | 1117457 | N/A | 7-10 days | ProMix 120 ProMix 300 |  | 107.4 | 144.99 | 161.1
Tube Pump (VP) 1.44 GPH/5 bar | Prominent | 1125874 | 1125874 | N/A | 7-10 days |  |  | 2305.94 | 3113.019 | 3458.91
Rotometer 5GPM 1/2" PVC King | Prominent | 7746343 | 7746343 | N/A | 7-10 days |  |  | 133.95 | 180.8325 | 200.925
Current as of 12/3/24

## Belt Filters
Belt Filter Pricing
BELT FILTER MODEL | BELT DIMENSIONS |  | MECHANICAL FILTRATION | CHEMICAL FILTRATION | WEIGHT (LBS) |  | DIMENSIONS (IN) |  |  | POWER | Cost | GDS | Base | Full Retail | MIVALT PART # | GDS PART #
| WIDTH (IN) | LENGTH (IN) | (GPM) | (GPM) | Net | Operating | Length | Width | Height | (kW) | Euros | Cost | Price | Price
MP-BF-1.3 C | 12 | 52 | 9 - 155 | 2 - 6 | [7 empty] | 0 | 0 | 0
MP-BF-2.1 C | 12 | 83 | 25 - 440 | 4 - 8 |  |  | 101 | 22.7 | 56 |  | 11500 | 13800 | 20700 | 27600
MP-BF-2.1 D | 20 | 83 | 45 -750 | 8 - 17 |  |  | 100.9 | 30.6 | 56.1 |  | 13050 | 15660 | 23490 | 31320 | MP-BF-2.1D | BELT-FILT-2.1D
MP-BF-3.6 D | 20 | 142 | 90 -1760 | 13 - 26 |  |  | 187.5 | 50.2 | 66.4 |  | 16470 | 19764 | 29646 | 39528
MP-BF-3.6 M | 40 | 142 | 260 -3500 | 26 - 52 | [6 empty] | 20130 | 24156 | 36234 | 48312
Belt Filter Parts
PART NAME |  |  | PART NO | PART NO | WEIGHT (LBS) |  | DIMENSIONS (IN) |  |  | POWER | Cost | GDS | Base | Full Retail
|  |  | (MIVALT) | (GDS) | Net | Operating | Length | Width | Height | (kW) | Euros | Cost | Price | Price
Scraper - D |  |  |  | SCRAP-BF-D | [6 empty] | 2500 | 3000 | 4500 | 6000
Scraper - M |  |  |  | SCRAP-BF-M | [6 empty] | 2860 | 3432 | 5148 | 6864
Belt Mesh - 2.1 C |  |  |  | MESH-BF-2.1C | [6 empty] | 980 | 1176 | 1764 | 2352
Belt Mesh - 2.1 D |  |  |  | MESH-BF-2.1D | [6 empty] | 1050 | 1260 | 1890 | 2520
Belt Mesh 3.6 D |  |  |  | MESH-BF-3.6D | [6 empty] | 1240 | 1488 | 2232 | 2976
Belt Mesh 3.6 M |  |  |  | MESH-BF-3.6M | [6 empty] | 1910 | 2292 | 3438 | 4584
Current as of 10/29/24

## Mivalt ASP
ASP (Automatic, two chamber, polymer unit)
Machine Size | Mivalt Pricing | GDS Cost | Distributor Price | Retail Price
ASP-220/110-SS-C | 6400 | 7680 | 10368 | 13996.8
ASP-220/110-SS-P | 7900 | 9480 | 12798 | 17277.3
ASP-250/150-PP-C | 6500 | 7800 | 10530 | 14215.5
ASP-250/150-PP-P | 8300 | 9960 | 13446 | 18152.1
ASP-700/450-PP-C | 7800 | 9360 | 12636 | 17058.6
ASP-700/450-PP-P | 9200 | 11040 | 14904 | 20120.4
ASP-750/400-SS-C | 9500 | 11400 | 15390 | 20776.5
ASP-750/400-SS-P | 10900 | 13080 | 17658 | 23838.3
ASP-1500/1450-SS-C | 11500 | 13800 | 18630 | 25150.5
ASP-1500/1450-SS-P | 14500 | 17400 | 23490 | 31711.5
ASP (manual, single chamber, polymer unit)
Machine Size | Mivalt Pricing | GDS Cost | Distributor Price | Retail Price
MSP300 | 1400 | 1680 | 2268 | 3061.8
MSP600 | 1600 | 1920 | 2592 | 3499.2
MSP1100 | 1900 | 2280 | 3078 | 4155.3
MSP1400 | 2200 | 2640 | 3564 | 4811.4
MSP2600 | 3000 | 3600 | 4860 | 6561

## GDS Services
Start-Up Packages
Package Name | Package # | Days on-site | Cost
Package 1 | BA-101 | 2-3 | 6000
Package 2 | EX-102 | 4-5 | 8000
Package 3 | UL-103 | 7-10 | 10000
Maintenance Check |  | 1 | 1200
Installation Check |  | 1 | 1200
Site Walk-Thru |  | 1 | 1200